## CFU standard curve
Cumulative Dilution | 1 | 10 | 200 | 4000 | 80000 | 800000 | 8000000
Dilution |  | 10 | 20 | 20 | 20 | 10 | 10
BBa_I20270 Culture 1, Dilution Replicate 1 | [7 empty] | Enter colony counts measurements into blue cells
BBa_I20270 Culture 1, Dilution Replicate 2 | [7 empty] | Gold cells are calculated
BBa_I20270 Culture 1, Dilution Replicate 3
BBa_I20270 Culture 2, Dilution Replicate 1
BBa_I20270 Culture 2, Dilution Replicate 2
BBa_I20270 Culture 2, Dilution Replicate 3
BBa_R0040 Culture 1, Dilution Replicate 1
BBa_R0040 Culture 1, Dilution Replicate 2
BBa_R0040 Culture 1, Dilution Replicate 3
BBa_R0040 Culture 2, Dilution Replicate 1
BBa_R0040 Culture 2, Dilution Replicate 2
BBa_R0040 Culture 2, Dilution Replicate 3
Mean Colonies |  |  |  |  | --- | --- | ---
Std.Dev. Colonies |  |  |  |  | --- | --- | ---
Mean Colonies / Abs600 |  |  |  |  | --- | --- | ---
CFU / Abs600: | ---
Values should form a straight line on both linear and log scale
Slope should be 1:1
Common problems:
* Consistent pipetting error --> log graph is a straight line but not 1:1 slope