Isolation of Human Brain Nuclei – Sucrose Gradient Ultracentrifugation

- Take brain tissue sample out of -80C freezer and put on dry ice. Transfer the sample from the bag or tube to a petri dish and carefully cut a small piece off with a surgical blade, keeping it on dry ice. Replace the remaining piece in the bag and put the small piece in a labeled Eppendorf tube. Keep the Eppendorf tube on dry ice. Repeat for all samples, using a different petri dish and surgical blade for a new sample.

- Optional: Weigh Eppendorf tubes if needed and record weights. 50 mg per sample.

- Pour 25 mL per sample of sucrose homogenization buffer into 50 mL Falcon tube and place on ice. Add 1 L of RNase Inhibitor (40U/L) per mL of homogenization buffer. Shake tube to mix.

- Pipette 15 mL homogenization buffer with RNase Inhibitor into 15 mL Dounce tissue grinder on ice. Add tissue piece and homogenize.

- Note: Slowly break big tissues (first 3-4 strokes up and down), then dounce up and down 10 times with the “loose” pestle followed by 10 times with the “tight” pestle.

- Note: Pull the pestle out slowly to avoid spilling. Each sample takes 5-10 minutes.

- Label bottom of 50 mL ultracentrifuge tube (in case it breaks in the centrifuge). Pipette 10 mL fresh homogenization buffer to the tube as a cushion, and carefully pour the 15 mL of homogenate on top of it to maintain two separate layers.

- Place the ultracentrifuge tubes in the swing buckets. Weigh and balance the buckets containing the samples by adding a few drops of fresh homogenization buffer to the top.

- Ultracentrifuge at 25,000 rpm for 1 hour at 4C in SW28 rotor for ultracentrifuge.

- Do not use a fixed angle rotor. Always use a swinging bucket.

- Thin wall 50 mL tube: BECKMAN 344058 (Tube, Thinwall, Ultra-Clear™)

- Wash glassware: Rinse each piece with tap water 10 times. Then rinse with MilliQ water 5 times. Lay out to dry on paper towels. Once dry, rinse one time with DNase-, RNase-free water, air dry and store for next time.

- Add 2 L RNase Inhibitor (40U/L) per mL of nuclei suspension buffer, making 5 mL total buffer per sample. Mix and place on ice.

- Remove all the supernatant by pouring off into a petri dish. Place upside-down in petri dish for a few seconds. Cut off the wall of the thin centrifuge tube with a clean razor blade.

- Resuspend the nuclei pellet at the bottom of the cut ultracentrifuge tube in 500 L nuclei suspension buffer. Pipette gently up and down in the solution 10–20 times. Transfer this buffer into a labeled Eppendorf tube and repeat with an additional 500 L nuclei suspension buffer. Place on ice.

- In a new labeled Eppendorf tube, make a 1:1 dilution of the nuclei suspension and Trypan Blue. Count nuclei (round blue dots) using haemocytometer slide (C-Chip, DHCN015). Count each 4x4 grid at the corners and average the counts.

- Concentration of the nuclei: Average count x 2 (dilution in Trypan Blue) x 104/mL

- Spin down nuclei at 800g, 4C and 9 acceleration/deceleration for 10 minutes.

- Carefully remove supernatant with pipette. Do not disturb the pellet at the bottom. Resuspend in nuclei suspension buffer: the ideal concentration for 10X is 1000 nuclei/L.

- Make a new 1:1 dilution of the nuclei suspension and Trypan Blue. Recount nuclei to ensure the concentration is adequate for 10x (700-1200 nuclei/uL). Ideally, there would be 50 nuclei per 4x4 grid in the haemocytometer slide.

- Submit samples for 10x Genomics Chromium loading (single cell 3’ V3.1 chemistry).

- Sucrose Homogenization Buffer 2 M sucrose, 10 mM Hepes (pH 7.9), 25 mM KCl, 1 mM EDTA (pH 8.0), 10% glycerol, and ribonuclease (RNase) inhibitors freshly added (80 U/ml)

- Nuclei Suspension Buffer 15 mM Hepes (pH 7.4), 15 mM NaCl, 60 mM KCl, 2 mM MgCl2, 3 mM CaCl2, and RNase inhibitors freshly added (80 U/ml)