### ELISA of sera to detect for antibodies against 2019-nCoV protein (IgG)

### Materials

- 96 well NUNC maxi sorp plates (NUNC, Cat no: 442404)

- Adhesive sheet (for covering plate)

- Coating antigen

- Sera for testing (aliquot in BSC, heat-inactivated for 56oC for 30 minutes)

- Anti-human IgG-HRP (Santa Cruz, Cat no: SC-2907 *this may not be available anymore by the company)

- TMB ELISA substrate (Life technologies, Cat no: 002023)

- Stop solution (KPL sera care, Cat no: 5150-0019)

- PBS+0.05% Tween20 (PBST)

- Blocking buffer (BD Pharmingen, BD OptEIA assay diluent, Cat no: 51-2641KC; we buy from Zuellig pharma, Cat no: 555213)

- Coating buffer (Bicarbonate buffer: 0.015M Na2CO3, 0.035M NaHCO3, pH 9.6)

### Methods

- Coat the 96 well plate with 2ug/ml of 2019-nCoV protein diluted in bicarbonate buffer at 50ul/well in 4oC overnight.

- The next day, remove the coating solution as biohazard waste. Wash the plate 5x by filling each well with 150ul of PBST and remove the PBST wash as biohazard waste.

- Remove remaining solutions by tapping it hard against a paper towel.

- Block the remaining protein binding sites with 150ul blocking buffer per well. Incubate the plate at room temperature for 2 hours.

- Wash the plate 1x with PBST wash buffer and remove excess solutions as steps 2-3.

- Add heat-inactivated serum diluted 1:100 in blocking buffer in duplicates, at 50ul per well. Incubate the plate at room temperature for 2 hours.

- Wash plate 5x with PBST wash buffer and remove excess solutions as steps 2-3.

- Add anti-human IgG-HRP diluted 1:2000 in blocking buffer, at 50ul per well. Incubate the plate at room temperature for 1 hour.

- Wash plate 5x with PBST wash buffer and remove excess solutions as step 2-3.

- Add 50ul of TMB substrate per well. Observe the chromogenic reaction and stop after 1 minute before it reaches the maximum readable range of the Cytation5 plate reader (i.e. OD450 of 2).

- Stop reaction by addition of 50ul per well of Stop solution.

- Read the absorbance on the Cytation5 plate reader. TMB – 450um, background of plate – 570um.