Stock Solution Preparation Documentation Sheet

Preparation of Stock Ciprofloxacin for Addition to Media

- Remove 0.5 gm (500 mg) of ciprofloxacin hydrochloride from the bottle and QS to 50 mL with distilled water.  This will give a stock concentration of 10 mg/mL

- Mix with a stir bar and stirring plate until totally dissolved

- Filter sterilize the solution using a 0.2 µm filter

- The expiration date of the solution is indicated on the Certificate of Analysis  (CoA) and/or the bottle.  Document expiration date as listed on the CoA.

- Aliquot into sterile tubes, 5 mL samples, label as stock solution, add expiration date, and freeze at -20 ⁰C for later use.

- Diluted solution is good for 1 year frozen (if less than CoA expiration date) and 1 month thawed.

Preparation of 10 mg/mL Ciprofloxacin Suspension: (Follow instructions above)

Note: The expiration date is indicated on the Certificate of Analysis and/or bottle. The diluted solution is good for 1 year frozen (if less than CoA expiration date) and 1 month thawed.  Attach a copy of the CoA to this sheet.

| Material | Source | Lot# | Expiration Date | Quantity Required | Quantity Used |
| --- | --- | --- | --- | --- | --- |
| Ciprofloxacin Powder |  |  |  | 500 mg |  |
| Distilled Water |  |  |  | q.s. to 50 ml |  |

Prepared by 	                                                      	                       Date