# Detection of Mansonella perstans in dry blood spots

## DNA extraction using Quick-DNA™ MiniPrep (Zymo Research, USA)

- Three dry blood spots (DBS) discs (with 10ul blood each) were placed in a clean 1.5 mL microcentrifuge tube.

- Lysis was done by adding 400 µl of Genomic Lysis Buffer containing beta-mercaptoethanol in 0.5%(v/v) to the tube containing the DBS.

- This was followed by vortexing for 4-6 seconds, and then incubated at room temperature for 10 minutes.

- The liquid containing DNA was transferred to a Zymo-Spin IICR Column placed in a Collection Tube (ensuring that no particles of the filter paper is pipetted with the sample).

- The Zymo-Spin IICR Column was centrifuged at 10,000 x g for one minute.

- The Collection Tube with the flow through was discarded.

- The Zymo-Spin IICR Column was transferred to a new Collection Tube.

- 200 µl of DNA Pre-Wash Buffer was added to the spin column and then centrifuged at 10,000 x g for one minute.

- 500 µl of g-DNA Wash Buffer was added to the spin column and then centrifuged at 10,000 x g for one minute.

- Finally, the spin column was transferred to a clean 1.5 mL microcentrifuge tube and 75 µl DNA Elution Buffer was added to the base of the spin column.

- This was incubated at room temperature for 5 minutes and then centrifuged at 10,000 x g for one minute to elute the DNA.

- The eluted DNA was stored at -20ºC for later use.

### Nested PCR

# Primers

| Primer | Sequence | Reaction |
| --- | --- | --- |
| UNI-1R | 5`- CGCAGCTAGCTGCGTTCTTCATCG-3` | Nest I |
| FIL-1F | 5`-GTGCTGTAACCATTACCGAAAGG-3` | Nest I |
| FIL-2F | 5`-GGTGAACCTGCGGAAGGATC-3` | Nest II |
| FIL-2R | 5`-TGCTTATTAAGTCTACTTAA-3` | Nest II |

The PCRs were set up as follows:

Nest I Reaction (Master Mix)

- A master mix containing Go-Taq PCR Buffer, dNTPmix, UNI-1R, FIL-1F, Go-Taq polymerase and Nuclease Free water in the proportions below was made.

- The mix was vortexed and distributed into 0.2 mL PCR tubes.

- The DNA template was added separately to the respective tubes.

|  | Reagents | Concentration (total reaction volume = 15 µL |
| --- | --- | --- |
| 1 | Go-Taq PCR Buffer | 1X |
| 2 | dNTPmix | 300 nM |
| 3 | UNI-1R | 300 nM |
| 4 | FIL-1F | 300 nM |
| 5 | Go-Taq polymerase | 0.033 units |
| 6 | Nuclease Free water | Added to make the total volume |
| 7 | DNA Template | 3 µL (added individually to reaction tubes) |
| 8 | Total reaction volume | 15 µL |

*Multiply each component by the total number of samples to be run.

PCR cycling conditions

| Step | Temperature | Time | No. Cycles |
| --- | --- | --- | --- |
| Initial denaturation | 94°C | 3 min | 1 |
| Denaturation | 94°C | 30 sec, | 35 |
| Annealing | 60°C | 30 sec |  |
| Extension | 72°C | 30 sec |  |
| Final Extension | 72°C | 7 min | 1 |
| cooling | 4°C | ∞ | hold |

Nest II Reaction (Master Mix)

- A master mix containing Go-Taq PCR Buffer, dNTPmix, UNI-1R, FIL-1F, Go-Taq polymerase and Nuclease Free water in the proportions below was made.

- The mix was vortexed and distributed into 0.2 mL PCR tubes.

- The DNA template was added separately to the respective tubes.

|  | Reagents | Concentration (total reaction volume = 15 µL |
| --- | --- | --- |
| 1 | Go-Taq PCR Buffer | 1X |
| 2 | dNTPmix | 300 nM |
| 3 | FIL-2F | 300 nM |
| 4 | FIL-2R | 300 nM |
| 5 | Go-Taq polymerase | 0.033 units |
| 6 | Nuclease Free water | Added to make the total volume |
| 7 | DNA Template | 3 µL (added individually to reaction tubes) |
| 8 | Total reaction volume | 15 µL |

*Multiply each component by the total number of samples to be run.

PCR cycling conditions

| Step | Temperature | Time | No. Cycles |
| --- | --- | --- | --- |
| Initial denaturation | 94°C | 3 min | 1 |
| Denaturation | 94°C | 30 sec, | 35 |
| Annealing | 60°C | 30 sec |  |
| Extension | 72°C | 30 sec |  |
| Final Extension | 72°C | 7 min | 1 |
| cooling | 4°C | ∞ | hold |

## Gel Electrophoresis

The Nest II PCR products were run on a 2% agarose gel.

To make 2% Agarose gel,

- Agarose powder was weighed and added to a pyrex flask/beaker/bottle containing 1X TAE (tris-acetate EDTA) buffer. The volume of TAE used depends on the size of the gel casting tray. For example, if a tray with 80 mL capacity is used, add 1.6g of agarose powder to make 2%.

- These were mixed and then heated in a microwave for the agarose powder to dissolve completely.

- The mixture was cooled in a water bath with continues swirling until no vapour was seen.

- The desired gel staining dye (here SYBRTM safe dye was used) in a 1:10, 000 ratio of the stain to buffer and swirled to mix. Add 1 µL dye in 10 µL 1X TAE buffer.

- The mixture was poured into a casting tray with the desired comb to create sample loading wells in the gel.

- The tray was made to sit undisturbed to solidify.

- Some 1X TAE was poured into a gel tank to the appropriate level.

- The solidified gel was placed facing upwards into the gel tank with the wells at the side of the black electrode (-).

- The desired volume of the PCR products was loaded into the well. For each gel, the ladder (molecular marker) was loaded in the first well, followed by samples and then a negative control.

- The electrodes black (-) and red (+) were connected to a voltmeter. The gels were run at 120V for 40 mins.

- The gels were visualised with a Dual LED Blue/White Light Transilluminator (BluPADTM, Bio-Helix Co., Ltd.)

## DNA Recovery from Gel

- The bands (at 312bp) were excised and placed in new 1.5 mL microcentrifuge tubes.

- Gel extraction was performed using GF-1 Gel DNA Recovery Kit (GeneOn, Germany).

- The excised gel was weighed, and Buffer GB was added to the gel in a ratio of 1:1v/v and incubated at 50°C until the gel had melted.

- The mixture was then transferred to the column and centrifuged at 10,000 x g for one minute.

- The column was washed with 750 μL Wash Buffer.

- The flow through was discarded and the column was spun at 10,000 x g to dry.

- Elution Buffer (30 μL) was added and incubated at room temperature for 5 minutes. The column was centrifuged at 10,000 x g for one minute to elute the DNA.

- The recovered DNA (5μL) were run on a 2% agarose gel (see above for gel electrophoresis) to confirm DNA was successfully extracted. The DNA was stored at -20°C until they were shipped for sequencing.

- The gel purified DNA were sent to Inqaba Biotechnologies, South Africa for Sanger sequencing.