## Sheet1
Dispensions for scDam&T-seq using robotic liquid handlers
Dispensions are performed with three different liquid handlers:
*Mineral oil is dispensed with the Freedom EVO liquid handling platform (Tecan) that handles uL volumes
**Primers and Adapters are dispensed using the Mosquito LV (STP Labtech) that copies nL volumes from motherplates to destination plates
All other reaction mastermixes or buffers are dispensed with the Nanodrop II (Innovadyne) that handles nL volumes
Calculations of mastermixes are based on dispensions of a number of 384-well plates with the Nanodrop II liquid handler
The Nanodrop II aspirates from an 8-tube PCR strip and can dispense 1 or max 2 plates per round with high speed. It requires a total dead volume of around 80uL (or approx 10uL/PCR-strip tube) per dispension round
To use this calculation sheet, fill in the number of plates to sort and the number of plates to process after sorting in B13 and B14 respectively. Adjust number of dispension rounds if necessary, as indicated
For each reaction, prepare the mastermix with the volumes as calculated. Distribute the mastermix in 8-tube PCR strips (multiple if needed), as calculated.
Number of plates to sort | 12 | Adjust this manually. It is recommended to sort a few extra than the number of plates indended to process, as back-up (live sorted cells can be stored long-term at -80oC)
Number of plates to process after sorting | 8 | Adjust this manually according to experiment planning
Number of dispension rounds [for plates to be processed after sorting] | 4 | Adjust this manually if you will dispense odd number of plates on the Nanodrop II
Dead volume (uL) for each dispension round with the Nanodrop II | 80
Pre-sort steps
1. Pre-filling 384w plates with mineral oil
*Step using the Freedom EVO liquid handler platform (Tecan) or equivalent. Filtered oil is poured in a suitable container
Volume (uL) per well
Filtered mineral oil | 5
Seal with aluminum foil & spin at 2000g for 1-2 min at 4oC
Safe stopping point: Store plates at room temperature protected from light (up to a month)
The volume of 5uL mineral oil is not taken into account in the following reactions. All liquid mixes dispensed from now on form an aquaeous droplet physically separated from the mineral oil
2. Dispension of CELseq2 primers
*Step using the Mosquito LV (STP Labtech) or equivalent
| Volume (nL) per well | Final Concentration
CELseq2 primers (1500nM motherplate) | 50 | 1500nM
Seal with aluminum foil & spin at 2000g for 1-2 min at 4oC
Safe stopping point: Store plates at -20oC until single-cell sorting
Post-sort steps
Number of plates to process | 8
3. Lysis
Lysis mix | Volume (nL) per well | Final Concentration | Mastermix (uL) preparation | Volume (uL) per tube of PCR strip
Ultra-pure water | 22.5 |  | 213.12
Spike ins (diluted 1:50000) | 10 | 1:500000 | 94.72
Igepal/NP-40 1% | 7.5 | 0.075% | 71.04
dNTP mix (10mM each) | 10 | 1 | 94.72
TOTAL Dispension | 50 |  | 473.6 | 55.7176 | in case >200uL divide to distribute in multiple strips, keeping in mind No of plates per dispension round
Cumulative Volume | 100
Seal with aluminum foil & spin at 2000g for 1-2 min at 4oC
Incubate at 65oC for 5 min and place directly on ice blocks. Proceed with RT step
We recommend preparing both Lysis and RT mixes together so that the RT mix can be dispensed right after Lysis is done
4. Reverse Transcription (RT)
RT mix | Volume (nL) per well | Final Concentration | Mastermix (uL) preparation | Volume (uL) per tube of PCR strip
First-strand (FS) buffer 5x | 35 | 1x | 256.8533
DTT (0.1M) | 17.5 | 0.01 | 128.4267
RNase OUT (40 U/uL) | 8.75 | 2 | 64.2133
Superscript II (200 U/uL) | 8.75 | 10 | 64.2133
Ultra-pure water | 5 |  | 36.6933
TOTAL Dispension | 75 |  | 550.4 | 64.7529 | in case >200uL divide to distribute in multiple strips, keeping in mind No of plates per dispension round
Cumulative Volume | 175
Seal with aluminum foil & spin at 2000g for 1-2 min at 4oC
Incubate at 42oC for 1h, 4oC for 5 min, 70oC for 10 min, hold at 4oC
5. Second-strand synthesis (SSS)
SSS mix | Volume (nL) per well | Final Concentration | Mastermix (uL) preparation | Volume (uL) per tube of PCR strip
Ultra-pure water | 640 |  | 2187.4854
Second-strand (SS) buffer 5x | 220 | 1x | 751.9481
dNTP mix (10mM each) | 25 | 0.22727 | 85.4486
E. coli Ligase (10 U/uL) | 7.5 | 0.068182 | 25.6346
DNA polymerase I (10 U/uL) | 25 | 0.22727 | 85.4486
RNase H (2 U/uL) | 7.5 | 0.013636 | 25.6346
TOTAL Dispension | 925 |  | 3161.6 | 371.9529 | in case >200uL divide to distribute in multiple strips, keeping in mind No of plates per dispension round
Cumulative Volume | 1100 |  |  | 185.9765 | Volume per tube in 2 PCR strips
Seal with aluminum foil & spin at 2000g for 1-2 min at 4oC
Incubate at 16oC for 2h, hold at 4oC
6. Proteinase K treatment
ProtK mix | Volume (nL) per well | Final Concentration | Mastermix (uL) preparation | Volume (uL) per tube of PCR strip
Ultra-pure water | 50 |  | 217.6
Cutsmart buffer 10x | 135 | 1x | 587.52
Proteinase K solution (20 mg/mL) | 65 | 0.96296 | 282.88
TOTAL Dispension | 250 |  | 1088 | 128 | in case >200uL divide to distribute in multiple strips, keeping in mind No of plates per dispension round
Cumulative Volume | 1350
Seal with aluminum foil & spin at 2000g for 1-2 min at 4oC
Incubate at 50oC for 10h, heat inactivate at 80oC for 20 min, hold at 4oC
7. DpnI digestion
DpnI mix | Volume (nL) per well | Final Concentration | Mastermix (uL) preparation | Volume (uL) per tube of PCR strip
Ultra-pure water | 120 |  | 624.64
Cutsmart buffer 10x | 15 | 1x | 78.08
DpnI (20 U/uL) | 15 | 0.2 | 78.08
TOTAL Dispension | 150 |  | 780.8 | 91.8588 | in case >200uL divide to distribute in multiple strips, keeping in mind No of plates per dispension round
Cumulative Volume | 1500
Seal with aluminum foil & spin at 2000g for 1-2 min at 4oC
Incubate at 37oC for 6h, heat inactivate at 80oC for 20 min, hold at 4oC
8. Adapter dispension
**Step using Mosquito LV (STP labtech) or equivalent liquid handler that copies nL volumes from motherplate to destination plates
| Volume (nL) per well | Final Concentration
DamID2 Adapters (0.5uM motherplate) | 100 | 25nM
Seal with aluminum foil & spin at 2000g for 1-2 min at 4oC
Proceed directly with dispension of ligation mix
9. Adapter ligation
Ligation mix | Volume (nL) per well | Final Concentration | Mastermix (uL) preparation | Volume (uL) per tube of PCR strip
T4 ligase (5U/uL) | 50 | 0.125 | 233.6
T4 ligase buffer 10x | 200 | 1x | 934.4
Ultra-pure water | 150 |  | 700.8
TOTAL Dispension | 400 |  | 1868.8 | 219.8588 | in case >200uL divide to distribute in multiple strips, keeping in mind No of plates per dispension round
|  |  |  | 109.9294 | Volume per tube in 2 PCR strips
FINAL Cumulative Volume | 2000
Seal with aluminum foil & spin at 2000g for 1-2 min at 4oC
Incubate at 16oC for 16h, heat inactivate 65oC for 10 min, hold at 4oC
Safe stopping point: FREEZE plates @ -20oC till pooling