## Sheet1
Dispensions for single-cell Dam&ChIC using robotic liquid handlers
Dispensions are performed with three different liquid handlers:
*Mineral oil is dispensed with the Freedom EVO liquid handling platform (Tecan) that handles uL volumes
**Adapters are dispensed from a motherplate using the Mosquito LV (STP Labtech) that copies nL volumes from motherplates to destination plates
All other reaction mastermixes or buffers are dispensed with the Nanodrop II (Innovadyne) that handles nL volumes
Calculations of mastermixes are based on dispensions of a number of 384-well plates with the Nanodrop II liquid handler
The Nanodrop II aspirates from an 8-tube PCR strip and can dispense 1 or max 2 plates per round with high speed. It requires a total dead volume of around 80uL (or approx 10uL/PCR-strip tube) per dispension round
To use this calculation sheet, fill in the number of plates to sort and the number of plates to process after lysis in B13 and B15 respectively. Adjust number of dispension rounds if necessary, as indicated
For each reaction, prepare the mastermix with the volumes as calculated. Distribute the mastermix in 8-tube PCR strips (multiple if needed), as calculated.
Number of plates to sort | 12 | Adjust this manually. It is recommended to sort a few extra than the number of plates indended to process, as back-up (after the lysis step plates can be stored at -20oC for several months)
Number of dispension rounds [for plates to be sorted] | 6 | Adjust this manually if you will dispense odd number of plates on the Nanodrop II
Number of plates to process after lysis | 8 | Adjust this manually according to experiment planning
Number of dispension rounds [for plates to be processed after lysis] | 4 | Adjust this manually if you will dispense odd number of plates on the Nanodrop II
Dead volume (uL) for each dispension round with the Nanodrop II | 80
Pre-sort steps
Number of plates | 12
1. Pre-filling 384w plates with mineral oil
*Step using the Freedom EVO liquid handler platform (Tecan) or equivalent. Filtered oil is poured in a suitable container
Volume (uL) per well
Filtered mineral oil | 5
Seal with aluminum foil & spin at 2000g for 1-2 min at 4oC
Safe stopping point: Store plates at room temperature protected from light (up to a month)
2. Pre-filling 384w plates with WB0/0f
| Volume (nL) per well |  | Mastermix (uL) preparation | Volume (uL) per tube of PCR strip
WB0/WB0f ChIC buffer | 100 |  | 1000 | 117.6471 | in case >200uL divide to distribute in multiple strips, keeping in mind No of plates per dispension round
The ChIC buffer has some surface tension, so topping up a bit extra mastermix for dispension is recommended (calculation is already adjusted to round up to the 100 nearest)
Seal with aluminum foil & spin at 2000g for 1-2 min at 4oC
Safe stopping point: Keep plates at 4oC overnight, until next day's single-cell sorting
Post-sort steps
Number of plates | 12
3. Activation of pA-MNase with Ca+
Activation Solution | Volume (nL) per well | Final Concentration | Mastermix (uL) preparation | Volume (uL) per tube of PCR strip
WB0/WB0f ChIC buffer |  |  | 996
CaCl2 (1M) |  | 2mM | 4
TOTAL Dispension | 100 |  | 1000 | 117.6471 | in case >200uL divide to distribute in multiple strips, keeping in mind No of plates per dispension round
Cumulative Volume | 200
The Activation solution (like WB0/0f) has some surface tension, so topping up a bit extra mastermix for dispension is recommended (calculation is already adjusted to round up to the 100 nearest)
Seal with aluminum foil & spin at 2000g for 1-2 min at 4oC
Activate each plate at 4oC (coolblock or PCR machine) for exactly 30 min
4. Stop pA-MNase activity and cell lysis
STOP Solution | Volume (nL) per well | Final Concentration | Mastermix (uL) preparation | Volume (uL) per tube of PCR strip
EGTA (0.5M) | 16 | 0.02 | 120
NP-40/Igepal (10%) | 30 | 0.75% | 225
Proteinase K solution (20 mg/ml) | 20 | 1 | 150
ultra-pure water | 134 |  | 1005
TOTAL Dispension | 200 |  | 1500 | 176.4706 | in case >200uL divide to distribute in multiple strips, keeping in mind No of plates per dispension round
Cumulative Volume | 400
The STOP solution becomes quite bubbly, so topping up a bit extra mastermix for dispension is recommended (calculation is already adjusted to round up to the 100 nearest)
Seal with aluminum foil & spin at 2000g for 1-2 min at 4oC
Incubate at 65oC for 6h, heat inactivate at 80oC for 20 min, hold at 4oC
Safe stopping point: FREEZE plates long-term at -20oC
Post-lysis steps
Number of plates | 8
5. End-repair of pA-MNase-produced fragments
End-repair mix | Volume (nL) per well | Final Concentration | Mastermix (uL) preparation | Volume (uL) per tube of PCR strip
Klenow (5 U/uL) | 4 | 0.033333 | 18.688
dNTP mix (10 mM each) | 10 | 0.16667 | 46.72
T4 PNK (10 U/uL) | 4 | 0.066667 | 18.688
ATP (10 mM) | 60 | 1 | 280.32
PNK buffer 10x | 60 | 1x | 280.32
MgCl2 (25 mM) | 20 | 0.83333 | 93.44
PEG8000 | 10 | 5% | 46.72
BSA 100x (20 mg/mL) | 6 | 0.2 | 28.032
Ultra-pure water | 26 |  | 121.472
TOTAL Dispension | 200 |  | 934.4 | 109.9294 | in case >200uL divide to distribute in multiple strips, keeping in mind No of plates per dispension round
Cumulative Volume | 600
Seal with aluminum foil & spin at 2000g for 1-2 min at 4oC
Incubate at 37oC for 30 min, put plate directly on a coolblock (4oC) till PCR block is @75oC, heat inactivate at 75oC for 20 min, hold at 4oC
6. DpnI digestion
DpnI mix | Volume (nL) per well | Final Concentration | Mastermix (uL) preparation | Volume (uL) per tube of PCR strip
DpnI (20 U/uL) | 20 | 0.4 | 77.44
PNK buffer 10x | 40 | add less than 1x, taking into account amounts from previous reaction *eg DpnI doesn't need DTT contained in PNK buffer | 154.88
BSA 100x (20 mg/mL) | 10 | 0.2 | 38.72
Ultra-pure water | 330 |  | 1277.76
TOTAL Dispension | 400 |  | 1548.8 | 182.2118 | in case >200uL divide to distribute in multiple strips, keeping in mind No of plates per dispension round
Cumulative Volume | 1000
Seal with aluminum foil & spin at 2000g for 1-2 min at 4oC
Incubate at 37oC for 8h, heat inactivate at 80oC for 20 min, hold at 4oC
7. Adapter dispension
**Step using Mosquito LV (STP labtech) or equivalent liquid handler that copies nL volumes from motherplate to destination plates
| Volume (nL) per well | Final Concentration
DamID2 Adapters (0.5uM motherplate) | 100 | 25nM
Seal with aluminum foil & spin at 2000g for 1-2 min at 4oC
Proceed directly with dispension of ligation mix
8. Adapter ligation
Ligation mix | Volume (nL) per well | Final Concentration | Mastermix (uL) preparation | Volume (uL) per tube of PCR strip
T4 ligase (5U/uL) | 50 | 0.125 | 189.1556
T4 ligase buffer 10x | 200 | 1x | 756.6222
Ultra-pure water | 650 |  | 2459.0222
TOTAL Dispension | 900 |  | 3404.8 | 400.5647 | in case >200uL divide to distribute in multiple strips, keeping in mind No of plates per dispension round
|  |  |  | 200.2824 | Volume per tube in 2 PCR strips
FINAL Cumulative Volume | 2000
Dispense 500nL + 400nL instead of 900nL at once, in order to be within limits of accuracy (number of dispension rounds for this step is already adjusted to double)
Seal with aluminum foil & spin at 2000g for 1-2 min at 4oC
Incubate at 4oC for 20 min, 16oC for 16h, heat inactivate 65oC for 10 min, hold at 4oC
Safe stopping point: FREEZE plates @ -20oC till pooling