## Equipment and reagents
Equipment | Current catalogue number | Supplier | Comments | Example
Vortex |  |  |  | https://www.mrclab.com/vortex-1
Minifuge (12 sample) |  |  |  | https://www.fishersci.co.uk/shop/products/myspin-mini-centrifuge-series/15344204
P1000 pipette
P200 pipette
P10/20 pipette
P10 multichannel (8 or 12 channel depending on orientation that lab works in) |  |  |  | https://www.starlabgroup.com/GB-en/product/ergoone-multi-channel-pipettes-pf-sl-177415.html?childSku=S7112-0510
Microtube magnetic stand |  |  |  | https://www.thermofisher.com/order/catalog/product/AM10026
12 tube magnetic stand |  |  | For manual RNA extraction | https://international.neb.com/products/s1509-12-tube-magnetic-separation-rack
Tapestation or Gel electrophoresis dock with powerpack
Shaker (or similar device to agitate microtubes) |  |  |  | https://www.mrclab.com/digital-thermo-shaker-for-microtubewitout-block
Access to a GPU laptop for basecalling |  |  | ONT provide details for the IT requirements (see link in example column) | https://community.nanoporetech.com/requirements_documents/minion-it-reqs.pdf
MinION Sequencer |  | Oxford Nanopore
Plate centrifuge
Consumables/plasticware
P1000 pipette tips (1 box)
P200 pipette tips (1 box)
P10/20 pipette tips (1 box)
1.5 ml Eppendorf DNA LoBind tubes (6)
0.2 ml thin-walled PCR tubes
Ice bucket
Chiller rack |  |  |  | https://www.starlabgroup.com/en/product/starchill-pcr-pf-sl-177637.html
Microtube rack
Consumables/plasticware | Current catalogue number | Supplier | Comments | Samples per item
SuperScript III One-Step RT-PCR System (Platinum Taq) | 12574026 | Thermo Fisher |  | 200
DreamTaq | K1072 | Thermo Fisher |  | 2000
NEBNext End Repair/dA-tailing module | E7546S | New England Biolabs |  | 24 sequencing libraries
NEB Quick Ligase | E6056S | New England Biolabs |  | 10 sequencing libraries
Agencourt AMPure XP beads | A63880 | Beckman Coulter |  | 10000+
Ligation Sequencing Kit | SQK-LSK114 | Oxford Nanopore |  | 6 sequencing libraries
Ultrapure BSA 50mg/ml | AM2616 | Invitrogen |  | 200 sequencing libraries
MinION Flow cells | FLO-MIN114 | Oxford Nanopore |  | 3 (or more) sequencing libraries
Flow cell wash kits | EXP-WSH004 | Oxford Nanopore |  | 6 flow cell washes
Primers |  |  | Comments
Y7, Cre and nOPV-MM-R primers (non-barcoded) |  |  | See https://www.protocols.io/view/direct-detection-of-poliovirus-and-nanopore-sequen-dcek2tcw for sequence
Barcoded Y7 and Q8 primers |  |  | See https://www.protocols.io/view/direct-detection-of-poliovirus-and-nanopore-sequen-dcek2tcw for sequences. We recommend ordering two 96-well plates, one of Q8 and one of Y7, normalised to give specific concentrations when resuspended. These can then be mixed in equimolar concentrations (5 µM of each primer) and aliquoted into stock plates.
Manual RNA extraction with the MagMAX Viral RNA kit | Current catalogue number | Supplier |  | Samples per item
MagMAX™ Viral RNA Isolation Kit | AM1939 | Thermo Fisher |  | 50
OR
Automated RNA extraction with the MagMAX Viral RNA kit | Current catalogue number | Supplier |  | Items for 600 extractions
MagMAX™ Lysis/Binding Solution Concentrate (100 mL) | AM8500 | Thermo Fisher |  | 2
Wash Solution 1 Concentrate (205 mL) | AM8504 | Thermo Fisher |  | 2
Wash Solution 2 Concentrate (200 mL) | AM8640 | Thermo Fisher |  | 3
MagMAX™ Total RNA Elution Buffer (10 mL) | A41043 | Thermo Fisher |  | 3
Carrier RNA (500 uL) | 4382878 | Thermo Fisher |  | 2
DNA Binding Beads (1 mL) | 4489112 | Thermo Fisher |  | 4
Recombinant Proteinase K Solution (20 mg/mL, 5 x 1.25 mL) | AM2548 | Invitrogen |  | 1
With appropriate plastiware for either the Kingfisher Duo Prime or the Kingfisher Flex