Modified library preparation with ligation sequencing kit DNA V14 (SQK- LSK114) from Oxford Nanopore

This protocol describes the library preparation procedure for Oxford Nanopore sequencing of DNA samples on a Promethion device. The DNA input and incubation conditions have been modified from the standard ONT protocol to obtain enough library to load and wash one Promethion Flow Cell 2-3 times to maximize sequencing output. The library is expected to have an N50 around 30kb.

Original protocol: https://nanoporetech.com/document/genomic-dna-by-ligation-sqk-lsk114?device=PromethION

Materials

6ug of HMW DNA before size selection; or 3-4ug HMW DNA into library prep

AMPure XP Beads (AXP)

Consumables

Short read eliminator (PacBio 102-208-300)

Optional: Short Read Eliminator XS (PacBio 102-208-200)

SQK-LSK114 or SQK-LSK114-XL (Oxford Nanopore)

Promethion R10.4 Flow Cell (Oxford Nanopore)

NEBNext® Companion Module v2 (NEB, E7672S or E7672L)

Qubit dsDNA Assay Kit (Invitrogen, Q32851)

Nuclease-free water

Freshly prepared 70% and 80% ethanol in nuclease-free water

Qubit™ Assay Tubes (Invitrogen, Q32856)

1.5 ml Eppendorf DNA LoBind tubes

Equipment

Promethion device

P1000 pipette and tips

P100 pipette and tips

P20 pipette and tips

P10 pipette and tips

200 µL Wide Bore Pipette Tips

Centrifuge Eppendorf 5425 or similar

Microfuge

Vortex mixer

Thermal cycler or Heat Block

Magnetic separation rack

Ice bucket with ice

Qubit™ fluorometer (or equivalent for QC check)

Size selection

Short read eliminator (SRE) progressively depletes fragments up to 25 kb from genomic DNA samples. If your sample contains a lot of short fragments, you can perform SRE XS instead to avoid massive loss of the sample (depletes up to 10kb fragments).

- Prepare 6ug of HMW DNA in nuclease-free water, EB buffer or TE. High levels of salts will affect the size selection.

- Mix thoroughly the SRE Buffer by vortexing.

- Add 60 µl of SRE Buffer to each 60 µl of DNA. Mix well by flicking the tube and spin.

- Centrifuge at 10000 xg for 30 min at room temperature, with the hinge of the tube facing outwards.

- Immediately remove the supernantant carefully not to dislodge the pellet.

- The pellet might not be visible.

- Avoid disturbing the pellet by pipetting on the opposite side of the tube.

- The protocol allows to leave 10ul of supernatant behind.

- Save the supernatant to repeat the procedure in case a low recovery is expected.

- Wash the pellet twice with 500 µl of freshly prepared 70 % EtOH (1.5 ml tubes).

- Pipette off any residual ethanol.

- Resuspend in 30-50ul of Low TE buffer.

- If low recovery is expected, repeat the same procedure with the supernatant saved in step 5.

- Allow to resuspend overnight at room temperature or at 4ºC.

- If the pellet is not fully resuspended, incubate at 50ºC or allow for resuspension at room temperature several days.

- Quantify 1 µl of eluted sample using a Qubit fluorometer.

- Store at 4ºC.

DNA repair and end-prep

- Prepare the NEB reagents in accordance with manufacturer’s instructions and place on ice.

- Thaw all reagents on ice.

- Flick and/or invert the reagent tubes to ensure they are well mixed. Note: Do not vortex the FFPE DNA Repair Mix or Ultra II End Prep Enzyme Mix.

- Always spin down tubes before opening for the first time each day.

- Vortex the FFPE DNA Repair Buffer v2 to ensure it is well mixed. Note: This buffer may contain a white precipitate. If this occurs, allow the mixture to come to room temperature and pipette the buffer several times to break up the precipitate, followed by a quick vortex to mix.

- The FFPE DNA Repair Buffer v2 may have a yellow tinge and is fine to use if yellow.

- Prepare the DNA in nuclease-free water:

- Transfer 2-3 μg input DNA into a 1.5 ml Eppendorf DNA LoBind tube. Use wide bore tips.

- Adjust the volume to 48 μl with nuclease-free water.

- Mix thoroughly by flicking the tube.

- Spin down briefly in a microfuge

- In a 0.2 ml thin-walled PCR tube, mix the following:

| Reagent | Volume |
| --- | --- |
| DNA from the previous step | 47 µl |
| DNA CS (optional) | 1 µl |
| NEBNext FFPE DNA Repair Buffer v2 | 7 µl |
| NEBNext FFPE DNA Repair Mix | 2 µl |
| Ultra II End-prep Enzyme Mix | 3 µl |
| Total volume | 60 µl |

- Mix the reaction by flicking the tube and briefly spin down.

- Using a thermal cycler, incubate at 20°C for 30 minutes and 65°C for 30 minutes. Then cool down to room temperature. Alternatively, a heat block and 1.5 ml Eppendorf DNA LoBind tubes can be used.

- Resuspend the AMPure XP Beads (AXP) by vortexing.

- Spin down and transfer the DNA sample to a clean 1.5 ml Eppendorf DNA LoBind tube.

- Cleanup 1x. Add 60 µl of resuspended AMPure XP Beads (AXP) to the end-prep reaction and mix by flicking the tube.

- Incubate for 15 minutes at room temperature.

- Freshly prepare 1 ml of 80% ethanol in nuclease-free water.

- Spin down the sample and pellet on a magnet until supernatant is clear and colourless. Keep the tube on the magnet, and pipette off the supernatant.

- Keep the tube on the magnet and wash the beads with 500 µl of freshly prepared 80% ethanol without disturbing the pellet. Remove the ethanol using a pipette and discard.

- Repeat the previous step.

- Spin down and place the tube back on the magnet. Pipette off any residual ethanol. Allow to dry for ~30 seconds, but do not dry the pellet to the point of cracking.

- Remove the tube from the magnetic rack and resuspend the pellet in 61 µl nuclease-free water by flicking the tube. Incubate for 1h 30min at 37ºC.

- Spin down the tube and pellet the beads on a magnet until the eluate is clear and colourless, for at least 1 minute.

- Remove and retain 60 µl of eluate into a clean 1.5 ml Eppendorf DNA LoBind tube. Use wide bore tips.

- The sample can progress to adapter ligation or be stored at 4ºC overnight.

Adapter ligation and clean-up

- Prepare all the reagents.

- Spin down the Ligation Adapter (LA) and Salt-T4® DNA Ligase, and place on ice.

- Thaw Ligation Buffer (LNB) at room temperature, spin down and mix by pipetting. Due to viscosity, vortexing this buffer is ineffective. Place on ice immediately after thawing and mixing.

- Thaw the Elution Buffer (EB) at room temperature and mix by vortexing. Then spin down and place on ice.

- Thaw the Short Fragment Buffer (SFB) at room temperature and mix by vortexing. Then spin down and keep at room temperature.

- In a 1.5 ml Eppendorf DNA LoBind tube, mix in the following order:

| Reagent | Volume |
| --- | --- |
| DNA sample from the previous step | 60 µl |
| Ligation Adapter (LA) | 5 µl |
| Ligation Buffer (LNB) | 25 µl |
| Salt-T4® DNA Ligase | 10 µl |
| Total | 100 µl |

- Thoroughly mix the reaction by flicking the tube and briefly spinning down.

- Incubate the reaction for 1 hour at 20ºC or room temperature.

- Resuspend the AMPure XP Beads (AXP) by vortexing.

- Cleanup 0.4x. Add 40 µl of resuspended the AMPure XP Beads (AXP) to the reaction and mix by flicking the tube.

- Incubate for 15 minutes at room temperature.

- Spin down the sample and pellet on a magnet until supernatant is clear and colourless. Keep the tube on the magnet and pipette off the supernatant.

- Wash the beads by adding 250 μl Short Fragment Buffer (SFB). Flick the beads to resuspend, spin down, then return the tube to the magnetic rack and allow the beads to pellet. Remove the supernatant using a pipette and discard.

- Repeat the previous step

- Spin down and place the tube back on the magnet. Pipette off any residual supernantant. Allow to dry for ~30 seconds, but do not dry the pellet to the point of cracking

- Remove the tube from the magnetic rack and resuspend the pellet in 31 µl nuclease-free water by flicking the tube. Incubate for 1h 30min at 37ºC.

- Spin down the tube and pellet the beads on a magnet until the eluate is clear and colourless, for at least 1 minute.

- Remove and retain 30 µl of eluate containing the DNA library into a clean 1.5 ml Eppendorf DNA LoBind tube. Use wide bore tips.

- Quantify 1 µl of eluted sample using a Qubit fluorometer.

- Prepare your library in 30ul of Elution buffer (EB).

- The library prepared following this protocol is expected to be >20kb. Prepare 500-600ng of library to load on the Promethion R10.4 FC following manufacturer’s instructions. After loading, check that the pore occupancy is above 95% to optimize the output. If pore occupancy is below 94%, try to top-up by adding more library (there is space to load 200ul more in the flow cell).

- Store the remaining library at 4ºC to maximize the flow cell output by washing the flow cell and reloading fresh library when the active pores drop below 30% during the sequencing run.