1.	INPUT DNA QUALITY CONTROL

1.1	Bring the Qubit 1X dsDNA HS working solution and standards to room temperature.

1.2	Pulse vortex or pipette mix each sample to homogenize the DNA in solution.

1.3	Quick spin each sample to collect liquid.

1.4	Take a 1 µl aliquot from each sample and measure DNA concentration with a Qubit fluorometer using the 1X dsDNA HS kit.

1.5	Measure DNA concentration with a Qubit fluorometer using the 1X dsDNA HS kit.

1.6	Resolve DNA size distribution with Pippin Pulse Gel Electrophoresis using 50 - 100 ng of DNA (gDNA) and Quick-Load 1 kb Extend DNA Ladder (size range: 0.5 kb to 48.5 kb).

1.7	Proceed to the next step of the protocol if sample quality is acceptable.

SAFE STOPPING POINT - Store at 4°C

2.	DNA SHEARING AND CLEANUP

Our protocol utilizes the Megaruptor 2 system for shearing.

Shear DNA to an appropriate fragment length to optimize HiFi sequencing yield and read accuracy. Fragments that are too short produce less yield per read, and fragments that are too long may result in lower read accuracy and are less likely to produce HiFi reads.

Microbial and metagenomics samples may forgo shearing if the DNA is already in the specified fragment length range (7 kb –12 kb). In such cases, proceed to the “cleanup with 1X SMRTbell cleanup beads” to get the appropriate input amount in the correct volume and buffer.

2.1	Process sample volumes between 50 µl and 200 µl. Target a concentration of 40 ng/µl.

2.2	Shear DNA on the Megaruptor 2 system. Select fragment size between 20 Kb-25Kb.

2.3	Recover sheared DNA into a tube strip. This procedure will dilute your sample by 45 μl.

CLEANUP WITH 1X SMRTBELL CLEANUP BEADS

2.4	Add 1.0X v/v (volume over volume) of resuspended, room-temperature SMRTbell cleanup beads to each tube of sheared DNA.

2.5	Pipette mix the beads until evenly distributed.

2.6	Quick spin the tube strip in a microcentrifuge to collect liquid.

2.7	Leave at room temperature for 10 minutes to allow DNA to bind beads.

2.8	Place tube strip in a magnetic separation rack until beads separate fully from the solution.

2.9	Slowly pipette off the cleared supernatant without disturbing the beads. Discard the supernatant.

2.10	Slowly dispense 200 µl, or enough to cover the beads, of freshly prepared 80% ethanol into each tube. After 30 seconds, pipette off the 80% ethanol and discard.

2.11	Repeat the previous step.

2.12	Remove residual 80% ethanol:

•	Remove tube strip from the magnetic separation rack.

•	Quick spin tube strip in a microcentrifuge.

•	Place tube strip back in a magnetic separation rack until beads separate fully from the solution.

•	Pipette off residual 80% ethanol and discard.

2.13	Remove tube strip from the magnetic rack. Immediately add 47 µl of low TE buffer to each tube and resuspend the beads by pipetting 10 times or until evenly distributed.

2.14	Quick spin the tube strip in a microcentrifuge to collect liquid.

2.15	Leave at room temperature for 5 minutes to elute DNA.

2.16	Place tube strip in a magnetic separation rack until beads separate fully from the solution.

2.17	Slowly pipette off the cleared supernatant without disturbing the beads. Transfer supernatant to a new tube strip. Discard old tube strip with beads.

2.18	Recommended: Evaluate sample quality (concentration and size distribution).

•	Take a 1 µl aliquot from each sample and measure DNA concentration with a Qubit fluorometer using the 1X dsDNA HS kit.

•	Measure DNA concentration with a Qubit fluorometer using the 1x dsDNA HS kit.

•	Measure DNA size distribution with a 5200 Fragment Analyzer System.

2.19	Proceed to the next step of the protocol if sample quality is acceptable.

SAFE STOPPING POINT - Store at 4°C

3.	REPAIR AND A-TAILING

3.1	Add the following components in the order and volume listed below to a new microcentrifuge tube. Adjust component volumes for the number of samples being prepared, plus 10% overage. For individual preps, add components directly to the sample from the previous step at the specified volumes and skip RM1 steps (3.2 to 3.4).

Repair buffer		8 µl

End repair mix		4 µl

DNA repair mix		2 µl

Total volume		14 µl

3.2	Pipette mix RM1.

3.3	Quick spin RM1 in a microcentrifuge to collect liquid.

3.4	Add 14 µl of the RM1 to each sample. Total reaction volume should be 60 µl.

3.5	Pipette mix each sample.

3.6	Quick spin the strip tube in a microcentrifuge to collect liquid.

3.7	Run the repair and A-tailing thermocycler program.

| Step | Time | Temperature |
| --- | --- | --- |
| 1 | 30 min | 37°C |
| 2 | 5 min | 65°C |
| 3 | Hold | 4°C |

3.8	Proceed to the next step of the protocol.

4.	ADAPTER LIGATION AND CLEANUP

4.1	Add 4 µl of SMRTbell adapter (non-barcoded) or SMRTbell barcoded adapter 3.0 to each sample from the previous step.

4.2	Add the following components in the order and volume listed below to a new microcentrifuge tube. Adjust component volumes for the number of samples being prepared, plus 10% overage. For individual preps, add components directly to each sample from the previous step in the order and volume listed below, then skip RM2 steps (4.3 to 4.5).

Ligation mix		24.3 µl

Ligation enhancer	1 µl

MgCl2			5.7 µl (final concentration 3mM)

4.3	Pipette mix RM2.

4.4	Quick spin RM2 in a microcentrifuge to collect liquid.

4.5	Add 31 µl of RM2 to each sample from previous step. Total volume should be 95 µl.

4.6	Pipette mix each sample.

4.7	Quick spin the strip tube in a microcentrifuge to collect liquid.

4.8	Run the adapter ligation thermocycler program.

| Step | Time | Temperature |
| --- | --- | --- |
| 1 | 140 min | 20°C |
| 2 | 10 min | 65°C |
| 3 | Hold | 4°C |

CLEANUP WITH 1X SMRTBELL CLEANUP BEADS

4.9	Add 95 µl of resuspended, room-temperature SMRTbell cleanup beads to each sample.

4.10	Pipette mix the beads until evenly distributed.

4.11	Quick spin the tube strip in a microcentrifuge to collect all liquid from the sides of the tubes.

4.12	Leave at room temperature for 10 minutes to allow DNA to bind beads.

4.13	Place tube strip in a magnetic separation rack until beads separate fully from the solution.

4.14	Slowly pipette off the cleared supernatant without disturbing the beads. Discard the supernatant.

4.15	Slowly dispense 200 µl, or enough to cover the beads, of freshly prepared 80% ethanol into each tube. After 30 seconds, pipette off the 80% ethanol and discard.

4.16	Repeat the previous step.

4.17	Remove residual 80% ethanol:

•	Remove tube strip from the magnetic separation rack.

•	Quick spin tube strip in a microcentrifuge.

•	Place tube strip back in a magnetic separation rack until beads separate fully from the solution.

•	Pipette off residual 80% ethanol and discard.

4.18	Remove tube strip from the magnetic rack. Immediately add 40 µl of elution buffer to each tube and resuspend the beads.

4.19	Quick spin the tube strip in a microcentrifuge.

4.20	Leave at room temperature for 5 minutes to elute DNA.

4.21	Place tube strip in a magnetic separation rack until beads separate fully from the solution.

4.22	Slowly pipette off the cleared supernatant without disturbing the beads. Transfer supernatant to a new tube strip. Discard old tube strip with beads.

4.23	Proceed to the next step of the protocol.

SAFE STOPPING POINT - Store at 4°C

5.	NUCLEASE TREATMENT

5.1	Add the following components in the order and volume listed below to a new microcentrifuge tube. Adjust component volumes for the number of samples being prepared, plus 10% overage. For individual preps, add components directly to each sample from the previous step in the order and volume listed below, then skip RM3 steps (5.2 to 5.4).

Nuclease buffer		2.5 µl

Nuclease mix		2.5 µl

5.2	Pipette mix RM3.

5.3	Quick spin RM3 in a microcentrifuge to collect liquid.

5.4	Add 10 µl of RM3 to each sample. Total volume should equal 50 µl.

5.5	Pipette mix each sample.

5.6	Quick spin the strip tube in a microcentrifuge to collect liquid.

5.7	Run the nuclease treatment thermocycler program.

| Step | Time | Temperature |
| --- | --- | --- |
| 1 | 7 min | 37°C |
| 2 | Hold | 4°C |

5.8	Proceed to the next step of the protocol.

6.	BLUPIPPIN SIZE SELECTION

6.1	Prepare ~1.5 μg of SMRTbell library from step 1 in a final volume of 30.0 μL of elution buffer for each BluePippin lane.

6.2	Bring the loading solution to room temperature, and then add 10.0 μL of the loading solution to the 30.0 μL DNA sample and mix well. For loading multiple lanes with the same sample, scale up the volumes proportionally. The loading solution is viscous, so pipette slowly to ensure complete transfer into the DNA sample. Spin briefly to collect the contents at the bottom of the 1.5 mL tube.

6.3	Follow the manufacturer’s recommendations to set up a run protocol.

6.3 a 	Select the “0.75%DF Marker S1 High-Pass 6–10kb vs3” Cassette Definition File.

6.3 b 	Using the “Range” selection mode, enter a desired “BPstart” value of 10000 and a “BPend” value of 50000.

6.3 c 	Be sure to assign a marker lane.

6.4	Load the S1 marker and samples into the gel cassette and start the run. Run time is approximately 4 hrs 30 mins.

6.5	To maximize recovery of eluted DNA unselect “End Run when Eluition is Completed” and wait overnight after the run is finished before removing the sample from the elution chamber.

6.5 a	Collect the eluate (~40 µl) into a new 1.5 mL tube.

6.5 b	Wash the elution well with 40 μL PippinHT 0.1% Tween20 (supplied with the cassettes). Wait 1 minute and add the recovered wash liquid to the eluted sample.

6.5 c	The total volume after pooling the recovered washes with the original eluted sample is ~ 80 μL

6.6	Take a 1 µl aliquot from each sample and measure DNA concentration with a Qubit fluorometer using the 1X dsDNA HS kit.

6.7	Measure DNA size distribution with a 5200 Fragment Analyzer System

CLEANUP WITH 1X SMRTBELL CLEANUP BEADS

6.8	Add 1X SMRTbell cleanup beads to each sample from the previous step.

6.9	Pipette mix the beads until evenly distributed.

6.10	Quick spin the tube strip in a microcentrifuge to collect all liquid.

6.11	Leave at room temperature for 10 minutes for SMRTbell cleanup beads to allow DNA to bind beads.

6.12	Place tube strip in a magnetic separation rack until beads separate fully from the solution.

6.13	Slowly pipette off the cleared supernatant without disturbing the beads. It is recommended to save the supernatant in another tube strip in case of poor DNA recovery.

6.14	Slowly dispense 200 µl, or enough to cover the beads, of freshly prepared 80% ethanol into each tube. After 30 seconds, pipette off the 80% ethanol and discard.

6.15	Repeat the previous step.

6.16	Remove residual 80% ethanol:

•	Remove tube strip from the magnetic separation rack.

•	Quick spin tube strip in a microcentrifuge.

•	Place tube strip back in a magnetic separation rack until beads separate fully from the solution.

•	Pipette off residual 80% ethanol and discard.

6.17	Remove tube strip from the magnetic rack. Immediately add 15 µl of elution buffer to each tube and resuspend the beads by pipetting 10 times or until evenly distributed.

6.18	Quick spin the tube strip in a microcentrifuge to collect liquid.

6.19	Leave at room temperature for 5 minutes to elute DNA.

6.20	Place tube strip in a magnetic separation rack until beads separate fully from the solution.

6.21	Slowly pipette off the cleared supernatant without disturbing the beads. Transfer supernatant to a new tube strip. Discard old tube strip with beads.

6.22	Take a 1 µl aliquot from each tube and dilute with 9 µl of elution buffer or water. Measure DNA concentration with a Qubit fluorometer using the 1x dsDNA HS kit. Calculate the total mass.

6.23	Proceed to SMRT Link Sample Setup to prepare the SMRTbell library for sequencing.

6.24	Store SMRTbell libraries at 4°C if sequencing within the week. Long-term storage should be at -20°C. Minimize freeze-thaw cycles when handling SMRTbell libraries.