1. INPUT DNA QUALITY CONTROL

1.1	Bring the Qubit 1X dsDNA HS working solution and standards to room temperature.

1.2	Pulse vortex or pipette mix each sample to homogenize the DNA in solution.

1.3	Quick spin each sample to collect liquid.

1.4	Take a 1 µl aliquot from each sample and measure DNA concentration with a Qubit fluorometer using the 1X dsDNA HS kit.

1.5	Resolve DNA size distribution with Pippin Pulse Gel Electrophoresis using 50 - 100 ng of DNA (gDNA) and Quick-Load 1 kb Extend DNA Ladder (size range: 0.5 kb to 48.5 kb).

1.6	Proceed to the next step of the protocol if sample quality is acceptable.

SAFE STOPPING POINT - Store at 4°C

2. SHEARING GENOMIC DNA USING A MEGARUPTOR SYSTEM

Important: If using the Megaruptor, ensure that the system is thoroughly washed before shearing. Since this workflow requires amplification, contamination introduced during shearing will be amplified which complicates assembly.

2.1	Use 100 ng of gDNA in a 51 µl sample volume for shearing.

2.2	Shear gDNA using Long Hydropores and have the Long Hydropore option selected in the Megaruptor software.

2.3	Choose at target shear size of 10 kb in the Megaruptor software setting.

2.4	A single sample requires a volume of 51 μl.

2.5	Take a 1 µl aliquot from each sample and measure DNA concentration with a Qubit fluorometer using the 1X dsDNA HS kit.

2.6	Measure DNA size distribution with a 5200 Fragment Analyzer System. If the DNA size is >11 kb, repeat step 2.3.

Note: It is recommended to confirm gDNA is sheared to the appropriate size range (<11 kb) prior to proceeding. If

the DNA is under-sheared, a second shear with the same parameters can be repeated. The same Megaruptor

consumables can be used if a secondary shear is required.

2.7	Proceed to the “Repair & A-tailing” section.

SAFE STOPPING POINT - Store at 4°C

3. REPAIR AND A-TAILING

IMPORTANT: Use PCR strip tubes throughout this procedure.

Use the following table to set up a reaction using around 100 ng of input sheared gDNA.

3.1	For each sample to be processed, add the following components to a single PCR tube of an 8-tube strip on ice:

Sheared DNA		49.0 μl

Repair Buffer		8.0 μl

End repair mix		2.0 μl

DNA repair mix		1.0 μl

Total volume		60.0 μl

3.2	Pipette-mix 10 times with wide-bore pipette tips.

3.3	Quick-spin Repair master mix in a microcentrifuge to collect liquid.

3.4	Quick-spin the tube strip in a microcentrifuge to collect liquid.

3.5	Run the repair and A-tailing thermocycler program

| Step | Time | Temperature |
| --- | --- | --- |
| 1 | 30 min | 37°C |
| 2 | 5 min | 65°C |
| 3 | Hold | 4°C |

3.6	Proceed to the next step of the protocol.

4.LIGATION OF AMPLIFICATION ADAPTER AND CLEANUP

Add the following components to a new microcentrifuge tube. Adjust component volumes for the number of

libraries being prepared, plus 10% overage.

4.1	For individual preps, with the reaction on ice, add the components below in the order listed, directly to Reaction Mix 1:

Reaction Mix 1				60.0 μl

Twist universal adapter			2.0 μl

Ligation Mix				15.02 µl

Ligation enhancer			1.0 µl

MgCl2					4.98 µl (final concentration 3mM)

Total volume				83.0 μl

4.2	Pipette mix 10 times with wide-bore pipette tips.

4.3	Quick-spin Ligation master mix in a microcentrifuge to collect liquid.

4.4	Quick-spin the tube strip in a microcentrifuge to collect liquid.

4.5	Run the adapter ligation thermocycler program

| Step | Time | Temperature |
| --- | --- | --- |
| 1 | 140 min | 20°C |
| 2 | 10 min | 65°C |

CLEANUP WITH 1X SMRTBELL CLEANUP BEADS

4.6	SMRTbell cleanup beads must be brought to room temperature for 30 to 60 mins prior to use.

4.7	Add 83 μl of SMRTbell cleanup beads to each sample and gently pipette mix 10 times. Perform a quick spin to collect all liquid from the sides of the tube.

4.8	Incubate at 25°C for 15 minutes.

4.9	Place on a magnet stand and wait until supernatant is clear. Use a P200 pipette to remove the supernatant.

4.10	While on magnet, wash two times with 200 μl of freshly prepared 80% ethanol. After removal of second wash of 200 μl of ethanol, spin the tube strip briefly, return to magnetic stand and remove residual ethanol with a P20 pipette. Do not let the beads to dry out.

4.11	Remove the tube strip from the magnetic stand. Immediately add 25 μl of elution buffer and pipette mix 10 times to resuspend. Do not let the beads to dry out. Quick spin to collect all liquid from the sides of the tube. Place at 25°C for 7 minutes to elute the DNA from the beads.

4.12	Place the tube on the magnetic stand to separate the beads from the supernatant. When the supernatant is clear, transfer 25 μl of the purified eluted sample into a to a new tube and set aside on ice until ready to use.

4.13	Take a 1 µl aliquot from each sample and measure DNA concentration with a Qubit fluorometer using the 1X dsDNA HS kit to define PCR cycles

| gDNA input | PCR Cycles* |
| --- | --- |
| 1 ng | 14 cycles |
| 5 ng | 12 cycles |
| 10 ng | 11 cycles |
| 20 ng | 10 cycles |
| 50 ng | 8 cycles |

5. LIBRARY AMPLIFICATION BY PCR AND CLEANUP

Add the following components to a new microcentrifuge tube. Adjust component volumes for the number of libraries being prepared, plus 10% overage.

5.1	For individual preps, on ice, add components directly to the sample from the previous step at the specified volumes:

2x Xtreme Buffer					50 µl

dNTP (2 mM each)				20 µl

KOD Xtreme Hot Start DNA polymerase		2 µl

Twist UDI Primers 				4 µl

Total volume					76 μl

5.2	On ice, add 76 μl of the Amplification master mix to 24 µl of sample for a total volume of 100 µl.

5.3	Pipette mix 10 times with wide-bore pipette tips and then perform a quick spin to collect all liquid from the sides of the tube

5.4	Place in a thermocycler and run the following program (lid 105°C). The PCR reactions may be left at 4°C overnight.

| PCR program | Time | Temperature | Cycles |
| --- | --- | --- | --- |
|  | 2 minutes | 94°C | 1 |
|  | 10 seconds | 98°C |  |
|  | 30 seconds | 58.8°C | 8-14 |
|  | 10 minutes | 68°C |  |
|  | 7 minutes | 68°C | 1 |
|  | Hold | 4°C |  |

CLEANUP WITH 1X SMRTBELL CLEANUP BEADS

5.5	SMRTbell cleanup beads must be brought to room temperature for 30 to 60 mins prior to use.

5.6	Add 100 μl of SMRTbell cleanup beads to the 100 μl of PCR and gently pipette mix 10 times. Perform a quick spin to collect all liquid from the sides of the tube.

5.7	Incubate at 25°C for 15 minutes.

5.8	Place on a magnet stand and wait until supernatant is clear. Use a P200 pipette to remove supernatant

While on magnet, wash two times with 200 μl of freshly prepared 80% ethanol. After removal of second wash of 200 μl of ethanol, spin the tube strip briefly, return to magnetic stand and remove residual ethanol with a P20 pipette. Do not let the beads to dry out.

5.9	Remove the tube strip from the magnetic stand. Immediately add 51 μl of elution buffer (preheated at 37°C) and pipette mix 10 times to resuspend. Do not let the beads to dry out. Quick spin to collect all liquid from the sides of the tube. Incubate at 25°C for 7 minutes to elute the DNA from the beads.

5.10	Place the tube on the magnetic stand to separate the beads from the supernatant. When the supernatant is clear, transfer 51 μl of eluted amplified DNA reaction to a new tube and set in ice until ready to use.

5.11	Take a 1 µl aliquot from each sample and measure DNA concentration with a Qubit fluorometer using the 1X dsDNA HS kit.

5.12	Measure DNA size distribution with a 5200 Fragment Analyzer System. Proceed to the next step of the protocol if sample quality and mass is acceptable.

SAFE STOPPING POINT - Store at 4°C

6.	REPAIR AND A-TAILING OF AMPLIFIED DNA

Add the following components from the SMRTbell prep kit 3.0 to a microcentrifuge tube. Adjust component volumes

for the number of libraries being prepared, plus 15% overage.

6.1	For individual preps, add components directly to the sample from the previous step:

Amplified DNA		49 µl

Repair buffer		8 µl

End repair mix		2 µl

DNA repair mix		1 µl

Total volume		60 µl

6.2	Pipette mix

6.3	Run the repair and A-tailing thermocycler program.

| Step | Time | Temperature |
| --- | --- | --- |
| 1 | 30 min | 37°C |
| 2 | 5 min | 65°C |
| 3 | Hold | 4°C |

6.4	Proceed to the next step of the protocol.

7.	ADAPTER LIGATION AND CLEANUP

Add the following components in the order and volume listed below to a new microcentrifuge tube. Adjust component volumes for the number of samples being prepared, plus 10% overage.

7.1	For individual preps, add components directly to each sample from the previous step in the order and volume listed below.

SMRTbell adapter	4 µl

Ligation mix		14.9 µl

Ligation enhancer	1 µl

MgCl2			5.1 µl (final concentration 3mM)

Total volume		25 µl

7.2	Pipette mix.

7.3	Quick spin in a microcentrifuge to collect liquid.

7.4	Add 25 µl of mix to each sample from previous step. Total volume should be 85 µl.

7.5	Pipette mix each sample.

7.6	Quick spin the strip tube in a microcentrifuge to collect liquid.

7.7	Run the adapter ligation thermocycler program.

| Step | Time | Temperature |
| --- | --- | --- |
| 1 | 140 min | 20°C |
| 2 | 10 min | 65°C |
| 3 | Hold | 4°C |

CLEANUP WITH 1X SMRTBELL CLEANUP BEADS

7.8	Add 85 µl of resuspended, room-temperature SMRTbell cleanup beads to each sample.

7.9	Pipette mix the beads until evenly distributed.

7.10	Quick spin the tube strip in a microcentrifuge to collect all liquid from the sides of the tubes.

7.11	Incubate at 25°C for 15 minutes.

7.12	Place tube strip in a magnetic separation rack until beads separate fully from the solution.

7.13	Slowly pipette off the cleared supernatant without disturbing the beads. Discard the supernatant.

7.14	Slowly dispense 200 µl, or enough to cover the beads, of freshly prepared 80% ethanol into each tube. After 30 seconds, pipette off the 80% ethanol and discard.

7.15	Repeat the previous step.

7.16	Remove residual 80% ethanol:

•	Remove tube strip from the magnetic separation rack.

•	Quick spin tube strip in a microcentrifuge.

•	Place tube strip back in a magnetic separation rack until beads separate fully from the solution.

•	Pipette off residual 80% ethanol and discard.

7.17	Remove tube strip from the magnetic rack. Immediately add 26 µl of elution buffer to each tube and resuspend the beads.

7.18	Quick spin the tube strip in a microcentrifuge.

7.19	Incubate at 25°C for 7 minutes to elute the DNA from the beads..

7.20	Place tube strip in a magnetic separation rack until beads separate fully from the solution.

7.21	Slowly pipette off the cleared supernatant without disturbing the beads. Transfer supernatant to a new tube strip. Discard old tube strip with beads.

7.22	Take a 1 µl aliquot from each sample and measure DNA concentration with a Qubit fluorometer using the 1X dsDNA HS kit.

7.23	Proceed to the next step of the protocol.

SAFE STOPPING POINT - Store at 4°C

8.	NUCLEASE TREATMENT OF SMRTBELL LIBRARY

Adjust component volumes for the number of libraries being prepared, plus 10% overage.

8.1	For individual preps, add components directly to each sample from the previous step

Nuclease buffer		2.5 µl

Nuclease mix		2.5 µl

Total volume		31 µl

8.2	Pipette mix Nuclease master mix

8.3	Quick-spin the Nuclease master mix in a microcentrifuge to collect liquid.

8.4	Add 5 µl of Nuclease master mix to each sample.

8.5	Pipette mix each sample.

8.6	Quick spin the strip tube in a microcentrifuge to collect liquid.

8.7	Run the nuclease treatment thermocycler program.

| Step | Time | Temperature |
| --- | --- | --- |
| 1 | 7 min | 37°C |
| 2 | Hold | 4°C |

8.8	Take a 1 µl aliquot from each sample and measure DNA concentration with a Qubit fluorometer using the 1X dsDNA HS kit.

8.9	Proceed to the next step of the protocol.

9.	SIZE SELECTION OF SMRTBELL LIBRARY

For constructing SMRTbell libraries from ultra-low DNA input, PacBio recommends size-selection using the BluePippin or the PippinHT systems (from Sage Science).

The average size distribution of the final size-selected library is approximately 10 kb - 11 kb. Typical recovery yields after size-selection are 20% to 30% (from input of purified SMRTbell library) and are highly dependent on the size distribution of the starting SMRTbell library. See the figures below for examples of SMRTbell libraries size-selected using the BluePippin and the PippinHT systems.

9.1	Prepare SMRTbell libraries in a final volume of 30 μl of elution buffer for each BluePippin lane.

9.2	Bring the Loading solution to room temperature and then, add 10 μl of Loading solution to each 30 μl sample remaining from the previous step above. Mix well by gentle pipetting and spin briefly to collect the contents at the bottom of the tube.

9.3	Follow the manufacturer’s recommendations to set up a run protocol.

• Select the “0.75% DF 3-10 kb Marker S1- Improved Recovery” Cassette Definition File for your sample.

• Using the “Range” selection mode, enter a desired “BP Start” value of 7000 and a “BP End” value of 17000. Note: We do not recommend running lanes with <400 ng of SMRTbell library material.

• Be sure to assign a marker lane.

9.4	Load S1 marker and samples into the BluePippin gel cassette and start the run. Run time is approximately 4.0 hours.

9.5	Collect Eluate. To maximize recovery of eluted DNA unselect “End Run when Eluition is Completed” and wait overnight after the run is finished before removing the sample from the elution chamber.

After collecting the eluate, wash the eluate chamber with 40 μl of Sage Science’s 0.1% Tween-20 Wash Solution and then combine the recovered wash solution with the eluted sample. Washing the elution well may further increase recovery yields by approximately 10-20%.

9.6	Measure the volume of your size-selected sample (eluate plus wash).

Take a 1 µl aliquot from each sample and measure DNA concentration with a Qubit fluorometer using the 1X dsDNA HS kit.

Measure DNA size distribution with a 5200 Fragment Analyzer System

9.7	Proceed to the “Purification of the size-selected SMRTbell library” step below.

10.	PURIFICATION OF SIZE-SELECTED SMRTBELL LIBRARY

10.1	Add 1X SMRTbell cleanup beads to each sample from the previous step.

10.2	Pipette mix the beads until evenly distributed.

10.3	Quick spin the tube strip in a microcentrifuge to collect all liquid.

10.4	Leave at room temperature 10 minutes to allow DNA to bind beads.

10.5	Place tube strip in a magnetic separation rack until beads separate fully from the solution.

10.6	Slowly pipette off the cleared supernatant without disturbing the beads. It is recommended to save the supernatant in another tube strip in case of poor DNA recovery.

10.7	Slowly dispense 200 µl, or enough to cover the beads, of freshly prepared 80% ethanol into each tube. After 30 seconds, pipette off the 80% ethanol and discard.

10.8	Repeat the previous step.

10.9	Remove residual 80% ethanol:

•	Remove tube strip from the magnetic separation rack.

•	Quick spin tube strip in a microcentrifuge.

•	Place tube strip back in a magnetic separation rack until beads separate fully from the solution.

•	Pipette off residual 80% ethanol and discard.

10.10	Remove tube strip from the magnetic rack. Immediately add 15 µl of elution buffer to each tube and resuspend the beads by pipetting 10 times or until evenly distributed.

10.11	Quick spin the tube strip in a microcentrifuge to collect liquid.

10.12	Leave at room temperature for 5 minutes to elute DNA.

10.13	Place tube strip in a magnetic separation rack until beads separate fully from the solution.

10.14	Slowly pipette off the cleared supernatant without disturbing the beads. Transfer supernatant to a new tube strip. Discard old tube strip with beads.

10.15	Take a 1 µl aliquot from each sample and measure DNA concentration with a Qubit fluorometer using the 1X dsDNA HS kit.

10.16	Proceed to SMRT Link Sample Setup to prepare the SMRTbell library for sequencing.

10.17	Store SMRTbell libraries at 4°C if sequencing within the week. Long-term storage should be at -20°C. Minimize freeze-thaw cycles when handling SMRTbell libraries.