1.	INPUT DNA QUALITY CONTROL

1.1	Bring the Qubit 1X dsDNA HS working solution and standards to room temperature.

1.2	Pulse vortex or pipette mix each sample to homogenize the DNA in solution.

1.3	Quick spin each sample to collect liquid.

1.4	Take a 1 µl aliquot from each sample and measure DNA concentration with a Qubit fluorometer using the 1X dsDNA HS kit.

1.5	Measure DNA concentration with a Qubit fluorometer using the 1X dsDNA HS kit.

1.6	Resolve DNA size distribution with Pippin Pulse Gel Electrophoresis using 50 - 100 ng of DNA (gDNA) and Quick-Load 1 kb Extend DNA Ladder (size range: 0.5 kb to 48.5 kb).

1.7	Proceed to the next step of the protocol if sample quality is acceptable.

SAFE STOPPING POINT - Store at 4°C

2.	SHEARING GENOMIC DNA USING A MEGARUPTOR SYSTEM

Important: If using the Megaruptor, ensure that the system is thoroughly washed before shearing. Since this workflow requires amplification, contamination introduced during shearing will be amplified which complicates assembly.

2.1	Process sample volumes between 50 µl and 200 µl

2.2	Shear gDNA using Long Hydropores and have the Long Hydropore option selected in the Megaruptor software.

2.3	Choose at target shear size of 10 kb in the Megaruptor software setting.

2.4	A single sample requires a volume of 46.0 μl.

2.5	Take a 1 µl aliquot from each sample and measure DNA concentration with a Qubit fluorometer using the 1X dsDNA HS kit.

2.6	Measure DNA size distribution with a 5200 Fragment Analyzer System.

2.7	Proceed to the “Repair & A-tailing” section.

3.	REPAIR AND A-TAILING

Before starting with the procedure, refer to the table in the Reagent handling section for recommendations surrounding SMRTbell prep kit 3.0 reagent handling.

IMPORTANT: Use PCR strip tubes throughout this procedure.

Use the following table to set up a reaction using up to 100 ng of input sheared gDNA.

3.1	For each sample to be processed, add the following components to a single PCR tube of an 8-tube strip on ice:

Sheared DNA		46.0 μl

Buffer			8.0 μl

End repair mix		4.0 μl

DNA repair mix		2.0 μl

Total volume		60.0 μl

3.2	Pipette-mix 10 times with wide-bore pipette tips.

3.3	Quick-spin RM1 in a microcentrifuge to collect liquid.

3.4	Quick-spin the tube strip in a microcentrifuge to collect liquid.

3.5	Run the repair and A-tailing thermocycler program

| Step | Time | Temperature |
| --- | --- | --- |
| 1 | 30 min | 37°C |
| 2 | 5 min | 65°C |
| 3 | Hold | 4°C |

3.6	Proceed to the next step of the protocol.

4.	LIGATE PCR ADAPTERS AND CLEANUP 

4.1	To ligate the amplification adapter to the repaired sample, the Amplification Adapters must first be diluted with Duplex buffer. Mix well and quick spin.

4.2	Duplex buffer 9.0 μl

Amplification adapter 1.0 μl

Total volume 10.0 μl

The diluted Amplification adapters should be used immediately and should not be stored.

4.3	With the reaction on ice, add the components below in the order listed, directly to Reaction Mix 1:

Reaction Mix 1				60.0 μl

Diluted Amplification adapter		2.5 μl

Ligation Mix				24.39 µL

Ligation enhancer			1 µL

MgCl2					5.61 µL (final concentration 3mM)

Total volume				93.5 μl

4.4	Pipette mix 10 times with wide-bore pipette tips.

4.5	Quick-spin RM1 in a microcentrifuge to collect liquid.

4.6	Quick-spin the tube strip in a microcentrifuge to collect liquid.

4.7	Run the adapter ligation thermocycler

| Step | Time | Temperature |
| --- | --- | --- |
| 1 | 140 min | 20°C |
| 2 | 10 min | 65°C |

CLEANUP WITH SMRTBELL CLEANUP BEADS

4.8	SMRTbell cleanup beads must be brought to room temperature for 30 to 60 mins prior to use.

4.9	Add 76.7 μl of SMRTbell cleanup beads to the 93.5 μl Reaction Mix 2 and gently pipette mix 10 times. Perform a quick spin to collect all liquid from the sides of the tube.

4.10	Incubate on bench for 10 minutes at room temperature.

4.11	Place on a magnet stand and wait until supernatant is clear. Use a P200 pipette to remove the supernatant.

4.12	While on magnet, wash two times with 200 μl of freshly prepared 80% ethanol. After removal of second wash of 200 μl of ethanol, spin the tube strip briefly, return to magnetic stand and remove residual ethanol with a P20 pipette. Do not let the beads to dry out.

4.13	Remove the tube strip from the magnetic stand. Immediately add 97 μl of elution buffer and pipette mix 10 times to resuspend. Do not let the beads to dry out. Quick spin to collect all liquid from the sides of the tube. Place at room temperature for 5 minutes to elute the DNA from the beads.

4.14	Place the tube on the magnetic stand to separate the beads from the supernatant. When the supernatant is clear, transfer 97 μl of the purified eluted sample into a to a new tube and set aside on ice until ready to use. Proceed to “Library Amplification by PCR”. IMPORTANT: For the Library amplification by PCR, the 97 μl of the purified eluted sample will be divided and used for two reactions (Reaction Mix 5A and Reaction Mix 5B). Each reaction requires a volume of 48 μl of the purified eluted sample.

SAFE STOPPING POINT - Store at 4°C

5.	LIBRARY AMPLIFICATION BY PCR AND CLEANUP

Divide the sample (48 μl each) and amplify with PCR Master Mix 1 and PCR Master Mix 2.

5.1	On ice, prepare Reaction Mix 1 and Reaction Mix 2. When working with multiple samples, prepare enough Master Mix for all reactions, plus 10% of the total reaction mix volume. Pipette mix 10 times with wide-bore pipette tips and then perform a quick spin to collect all liquid from the sides of the tube.

Reaction Mix 1:

PCR Master Mix 1		50.0 μl

Amplification PCR primer		2.0 μl

Total volume			52.0 μl

Reaction Mix 2:

PCR Master Mix 2		50.0 μl

Amplification PCR primer		2.0 μl

Total volume			52.0 μl

5.2	On ice, add 52 μl of RM1 and RM2 to the 48 μl eluted DNA for a total volume of 100 μl each reaction.

5.3	Pipette mix 10 times with wide-bore pipette tips and then perform a quick spin to collect all liquid from the sides of the tube

5.4	Place in a thermocycler and run the following program (lid 105°C). The PCR reactions may be left at 4°C overnight.

PCR program for RM1

| PCR program for RM1 | Time | Temperature | Cycle |
| --- | --- | --- | --- |
|  | 45 seconds | 98°C | 1 |
|  | 10 seconds | 98°C |  |
|  | 15 seconds | 62°C | 13 |
|  | 7 minutes | 72°C |  |
|  | 5 minutes | 72°C | 1 |
|  | Hold | 4°C |  |

PCR program for RM2

| PCR program for RM2 | Time | Temperature | Cycle |
| --- | --- | --- | --- |
|  | 30 seconds | 98°C | 1 |
|  | 10 seconds | 98°C |  |
|  | 15 seconds | 60°C | 13 |
|  | 10 minutes | 68°C |  |
|  | 5 minutes | 68°C | 1 |
|  | Hold | 4°C |  |

CLEANUP WITH SMRTBELL CLEANUP BEADS

5.5	SMRTbell cleanup beads must be brought to room temperature for 30 to 60 mins prior to use.

5.6	Add 82 μl of SMRTbell cleanup beads to the 100 μl RM1 and to the 100 μl RM2 and gently pipette mix 10 times. Perform a quick spin to collect all liquid from the sides of the tube.

5.7	Incubate on bench for 10 minutes at room temperature.

5.8	Place on a magnet stand and wait until supernatant is clear. Use a P200 pipette to remove supernatant

While on magnet, wash two times with 200 μl of freshly prepared 80% ethanol. After removal of second wash of 200 μl of ethanol, spin the tube strip briefly, return to magnetic stand and remove residual ethanol with a P20 pipette. Do not let the beads to dry out.

5.9	 Remove the tube strip from the magnetic stand. Immediately add 26 μl of elution buffer and pipette mix 10 times to resuspend. Do not let the beads to dry out. Quick spin to collect all liquid from the sides of the tube. Incubate on bench for 5 minutes at room temperature to elute the DNA from the beads.

5.10	Place the tube on the magnetic stand to separate the beads from the supernatant. When the supernatant is clear, transfer 26 μl of eluted amplified DNA reaction to a new tube and set in ice until ready to use.

5.11	Use 1 μl of sample to quantify with Qubit dsDNA HS kit.

IMPORTANT: You must have the required mass of purified amplified DNA per reaction to proceed with “Pool Amplified DNA”.

See guidelines below: Recommendations or samples with low yield

*If the total mass < 500 ng (<19.2 ng/μl) *1 additional cycles as described in Appendix 1

*If the total mass < 275 ng (<11 ng/μl) *2 additional cycles as described in Appendix 1

*If the total mass <130 ng (<5 ng/μl) *3 additional cycles as described in Appendix 1

*If the total mass < 65 ng (<2.5 ng/μl) * 5 additional cycles as described in Appendix 1 *

Not appliable to Sequel II or Sequel IIe runs for genome size ≤ 1Gb

6.	POOL AMPLIFIED DNA

The amplified DNA from the PCR Reaction Mix 1 and 2 are pooled together in equal mass quantities. The pooled DNA can then be constructed into a SMRTbell library as a single sample.

Pooling Best Practices:

•	Always quantify samples before pooling. Since DNA amounts may be limited at this step, PacBio recommends using the Qubit dsDNA High Sensitivity Assay Kit for concentration measurements.

•	To ensure that there is sufficient material for library construction and size selection, the total mass of the pooled DNA must be 500 -1000 ng in 46.0 µL (e.g., 250 ng of Reaction Mix 3A + 250 ng of Reaction Mix 3B). See the table below for pooling requirements for library construction.

6.1	Pool amplified DNA into a single PCR tube of an 8-tube strip.

6.2	Mix and spin down the contents of the tube with a quick spin in a microfuge.

6.3	Proceed to the “Repair and A-tailing” section below.

7.	REPAIR AND A-TAILING

7.1	For each sample to be processed, add the following components to a single PCR tube of an 8-tube strip on ice:

Pooled amplified DNA	46 µL

Repair buffer		8 µL

End repair mix		4 µL

DNA repair mix		2 µL

Total volume		14 µL

7.2	Pipette mix

7.3	Run the repair and A-tailing thermocycler program.

| Step | Time | Temperature |
| --- | --- | --- |
| 1 | 30 min | 37°C |
| 2 | 5 min | 65°C |
| 3 | Hold | 4°C |

7.4	Proceed to the next step of the protocol.

8.	ADAPTER LIGATION AND CLEANUP

8.1	Add 4 µL of SMRTbell adapter (non-barcoded) to each sample from the previous step.

8.2	Add the following components in the order and volume listed below to a new microcentrifuge tube. Adjust component volumes for the number of samples being prepared, plus 10% overage. For individual preps, add components directly to each sample from the previous step in the order and volume listed below.

Ligation mix		24.3 µL

Ligation enhancer	1 µL

MgCl2			5.7 µL (final concentration 3mM)

8.3	Pipette mix.

8.4	Quick spin in a microcentrifuge to collect liquid.

8.5	Add 35 µL of mix to each sample from previous step. Total volume should be 95 µL.

8.6	Pipette mix each sample.

8.7	Quick spin the strip tube in a microcentrifuge to collect liquid.

8.8	Run the adapter ligation thermocycler program.

| Step | Time | Temperature |
| --- | --- | --- |
| 1 | 140 min | 20°C |
| 2 | 10 min | 65°C |
| 3 | Hold | 4°C |

CLEANUP WITH 1X SMRTBELL CLEANUP BEADS

8.9	Add 95 µL of resuspended, room-temperature SMRTbell cleanup beads to each sample.

8.10	Pipette mix the beads until evenly distributed.

8.11	Quick spin the tube strip in a microcentrifuge to collect all liquid from the sides of the tubes.

8.12	Leave at room temperature for 10 minutes to allow DNA to bind beads.

8.13	Place tube strip in a magnetic separation rack until beads separate fully from the solution.

8.14	Slowly pipette off the cleared supernatant without disturbing the beads. Discard the supernatant.

8.15	Slowly dispense 200 µL, or enough to cover the beads, of freshly prepared 80% ethanol into each tube. After 30 seconds, pipette off the 80% ethanol and discard.

8.16	Repeat the previous step.

8.17	Remove residual 80% ethanol:

•	Remove tube strip from the magnetic separation rack.

•	Quick spin tube strip in a microcentrifuge.

•	Place tube strip back in a magnetic separation rack until beads separate fully from the solution.

•	Pipette off residual 80% ethanol and discard.

8.18	Remove tube strip from the magnetic rack. Immediately add 40 µL of elution buffer to each tube and resuspend the beads.

8.19	Quick spin the tube strip in a microcentrifuge.

8.20	Leave at room temperature for 5 minutes to elute DNA.

8.21	Place tube strip in a magnetic separation rack until beads separate fully from the solution.

8.22	Slowly pipette off the cleared supernatant without disturbing the beads. Transfer supernatant to a new tube strip. Discard old tube strip with beads.

8.23	Proceed to the next step of the protocol.

9.	SIZE SELECTION OF SMRTBELL LIBRARY

For constructing SMRTbell libraries from ultra-low DNA input, PacBio recommends size-selection using the BluePippin or the PippinHT systems (from Sage Science).

The average size distribution of the final size-selected library is approximately 10 kb - 11 kb. Typical recovery yields after size-selection are 20% to 30% (from input of purified SMRTbell library) and are highly dependent on the size distribution of the starting SMRTbell library. See the figures below for examples of SMRTbell libraries size-selected using the BluePippin and the PippinHT systems.

9.1	Prepare SMRTbell libraries in a final volume of 30 μl of elution buffer for each BluePippin lane.

9.2	Bring the Loading solution to room temperature and then, add 10 μl of Loading solution to each 30 μl sample remaining from the previous step above. Mix well by gentle pipetting and spin briefly to collect the contents at the bottom of the tube.

9.3	Follow the manufacturer’s recommendations to set up a run protocol.

• Select the “0.75% DF 3-10 kb Marker S1- Improved Recovery” Cassette Definition File for your sample.

• Using the “Range” selection mode, enter a desired “BP Start” value of 7000 and a “BP End” value of 17000. Note: We do not recommend running lanes with <400 ng of SMRTbell library material.

• Be sure to assign a marker lane.

9.4	Load S1 marker and samples into the BluePippin gel cassette and start the run. Run time is approximately 4.0 hours.

9.5	Collect Eluate.

To maximize recovery of eluted DNA unselect “End Run when Eluition is Completed” and wait overnight after the run is finished before removing the sample from the elution chamber.

After collecting the eluate, wash the eluate chamber with 40 μl of Sage Science’s 0.1% Tween-20 Wash Solution and then combine the recovered wash solution with the eluted sample. Washing the elution well may further increase recovery yields by approximately 10-20%.

9.6	Measure the volume of your size-selected sample (eluate plus wash).

Take a 1 µl aliquot from each sample and measure DNA concentration with a Qubit fluorometer using the 1X dsDNA HS kit.

Measure DNA size distribution with a 5200 Fragment Analyzer System

9.7	Proceed to the “Purification of the size-selected SMRTbell library” step below.

10.	PURIFICATION OF SIZE-SELECTED SMRTBELL LIBRARY

10.1	Add 1X SMRTbell cleanup beads to each sample from the previous step.

10.2	Pipette mix the beads until evenly distributed.

10.3	Quick spin the tube strip in a microcentrifuge to collect all liquid.

10.4	Leave at room temperature 10 minutes for SMRTbell cleanup beads to allow DNA to bind beads.

10.5	Place tube strip in a magnetic separation rack until beads separate fully from the solution.

10.6	Slowly pipette off the cleared supernatant without disturbing the beads. It is recommended to save the supernatant in another tube strip in case of poor DNA recovery.

10.7	Slowly dispense 200 µL, or enough to cover the beads, of freshly prepared 80% ethanol into each tube. After 30 seconds, pipette off the 80% ethanol and discard.

10.8	Repeat the previous step.

10.9	Remove residual 80% ethanol:

•	Remove tube strip from the magnetic separation rack.

•	Quick spin tube strip in a microcentrifuge.

•	Place tube strip back in a magnetic separation rack until beads separate fully from the solution.

•	Pipette off residual 80% ethanol and discard.

10.10	Remove tube strip from the magnetic rack. Immediately add 15 µL of elution buffer to each tube and resuspend the beads by pipetting 10 times or until evenly distributed.

10.11	Quick spin the tube strip in a microcentrifuge to collect liquid.

10.12	Leave at room temperature for 5 minutes to elute DNA.

10.13	Place tube strip in a magnetic separation rack until beads separate fully from the solution.

10.14	Slowly pipette off the cleared supernatant without disturbing the beads. Transfer supernatant to a new tube strip. Discard old tube strip with beads.

10.15	Take a 1 µL aliquot from each tube and dilute with 9 µL of elution buffer or water. Measure DNA concentration with a Qubit fluorometer using the 1x dsDNA HS kit. Calculate the total mass.

10.16	Proceed to SMRT Link Sample Setup to prepare the SMRTbell library for sequencing.

10.17	Store SMRTbell libraries at 4°C if sequencing within the week. Long-term storage should be at -20°C. Minimize freeze-thaw cycles when handling SMRTbell libraries.