Leukocyte Isolation and Chemotaxis Assay Using Zymosan-Opsonized Plasma and Agarose Spots

Authors: Brian Andrich L. Pollo
Keywords: leukocytes, RBC lysis, HBSS, chemotaxis, agarose spot, zymosan, WBC

Summary:
This protocol describes the isolation of leukocytes from human whole blood, opsonization of targets with zymosan-activated plasma, and assessment of chemotaxis using an agarose spot assay. The method integrates established RBC lysis, zymosan activation, and quantitative image analysis, and can be adapted for studies in immunology, regenerative medicine, and inflammation.

Introduction:
Neutrophil and leukocyte chemotaxis is a key immune function measurable by in vitro assays. The agarose spot assay offers spatial and quantitative resolution of migration in response to chemoattractants, including complement activation products. Here we combine leukocyte preparation [1] with zymosan activation [2] and image-based quantification [3], incorporating viability assessment and RBC lysis buffer preparation as well. [4,5]

Materials and Reagents:
Include reagents for RBC lysis buffer, HBSS, zymosan (yeast cell walls), low-melt agarose, CPDA-1 blood collection supplies, trypan blue, PBS, distilled water.

Equipment:
Centrifuge capable of 300–350×g, water bath (40 °C), hemocytometer, microscope with imaging, microscope slides, cover slip.

A. Reagent Preparation

1. 10× RBC Lysis Buffer (100 mL)
Materials:

- 8.02 g ammonium chloride

- 0.84 g sodium bicarbonate

- 0.37 g disodium EDTA

- Distilled water to 100 mL

Procedure:
1.1. Add all reagents to ~80 mL distilled water in a clean beaker.
1.2. Stir until fully dissolved.
1.3. Bring volume to 100 mL with distilled water.
1.4. Store at 4 °C for up to 6 months.

2. 2× Hanks’ Balanced Salt Solution (HBSS) (500 mL)
Materials:

- 8 g NaCl

- 400 mg KCl

- 48 mg Na₂HPO₄

- 60 mg KH₂PO₄

- 1 g glucose

- 140 mg CaCl₂ (anhydrous)

- 98 mg MgSO₄ (anhydrous)

- 350 mg NaHCO₃

- Distilled water to 500 mL

Procedure:
2.1. Add all reagents to ~400 mL distilled water.
2.2. Stir until dissolved.
2.3. Bring volume to 500 mL with distilled water.
2.4. Store at 4 °C for up to 1 month.

B. Preparation of Leukocyte Suspension

3. Isolation of WBCs from Whole Blood(Modified from [1])

3.1. Collect whole blood in CPDA-1 tubes.

3.2. Perform a light centrifugation at (placeholder: 300 × g, 5 min) to separate plasma.

3.3. Remove plasma and retain red cell pack + buffy coat.

3.4. Add RBC lysis buffer to the red cell pack at a 1:10 ratio (v/v).

3.5. Incubate 10 min at room temperature with gentle rocking.

3.6. Centrifuge at 300 × g for 5 min; discard supernatant.

3.7. Repeat lysis if RBCs remain visible.

3.8. Resuspend WBC pellet in HBSS and wash once.

3.9. Resuspend cells in assay-appropriate medium.

4. Cell Viability and Counting (Modified from [6])

4.1. Mix 1:1 WBC suspension with 0.4% trypan blue.

4.2. Incubate for 3 min at room temperature.

4.3. Load 100 µL onto hemocytometer.

4.4. Count viable (unstained) and non-viable (blue) cells.

5. Preparation of zymosan suspension (Modified from [2])

5.1. Suspend 20 mg zymosan in 500 µL distilled water.

5.2. Centrifuge at 300 × g for 5 min; discard supernatant.

5.3. Wash pellet twice with HBSS (pH 7.4).

5.4. Resuspend final pellet in 10 mL HBSS.

5.5. Aliquot 1 mL per tube; centrifuge at 350 × g for 5 min.

E. Agarose Spot Chemotaxis Assay (Modified from [3])

6. Preparation of agarose spots
6.1. Prepare 0.5% low-gelling agarose in PBS (pH 7.4).
6.2. Keep melted agarose at 40 °C.
6.3. Mix 20 µL plasma sample with 180 µL agarose.
6.4. Spot 10 µL of mixture microscope slide.
6.5. Place coverslip.

7. Cell addition and incubation
7.1. Add 50 µL WBC suspension (5 × 10⁶ cells/mL) in between cover slip and slide.
7.2. Incubate at 37 °C for 1 h.

8. Imaging and analysis
8.1. Observe spots under binocular microscope at 40× magnification.
8.2. Capture images of four quadrants per spot.
8.3. Analyze in ImageJ:
 • Subtract background.
 • Adjust threshold to isolate cells (>20 pixels, circularity 0–1).
 • Count migrated cells.
8.4. Normalize counts to positive control as 100%.
8.5. (Optional) Measure migration distance from spot edge using coordinate geometry in ImageJ.

References:

[1]	Dagur PK, McCoy JP. Collection, Storage, and Preparation of Human Blood Cells. Curr Protoc Cytom 2015;73:5.1.1-5.1.16. https://doi.org/10.1002/0471142956.CY0501S73.

[2]	Denk S, Taylor RP, Wiegner R, Cook EM, Lindorfer MA, Pfeiffer K, et al. Complement C5a-Induced Changes in Neutrophil Morphology During Inflammation. Scand J Immunol 2017;86:143–55. https://doi.org/10.1111/SJI.12580,.

[3]	Clos-Sansalvador M, Monguió-Tortajada M, Grau-Leal F, Ruiz de Porras V, Garcia SG, Sanroque-Muñoz M, et al. Agarose spot migration assay to measure the chemoattractant potential of extracellular vesicles: applications in regenerative medicine and cancer metastasis. BMC Biol 2023;21:236. https://doi.org/10.1186/S12915-023-01729-5.

[4]	King RAN, Climacosa FMM, Santos BMM, Caoili SEC. A Human Erythrocyte-based Haemolysis Assay for the Evaluation of Human Complement Activity: Https://DoiOrg/101177/0261192920953170 2020;48:127–35. https://doi.org/10.1177/0261192920953170.

[5]	Climacosa FMM, King RAN, Santos BMM, Caoili SEC. Development and Characterization of Polymeric Peptides for Antibody Tagging of Bacterial Targets. Protein Pept Lett 2020;27:962–70. https://doi.org/10.2174/0929866527666200427212940.

[6]	Strober W. Trypan blue exclusion test of cell viability. Current Protocols in Immunology / Edited by John E Coligan . [et Al] 2001;Appendix 3. https://doi.org/10.1002/0471142735.IMA03BS21,.

Timing: Total ≈ 4–5 h
Critical: Work at room temperature unless otherwise specified.

- Preparation of RBC lysis buffer (10×) — Timing: 15 min
 See protocols.io section A1 for formulation. Store at 4 °C (up to 6 months).

- Preparation of 2× HBSS — Timing: 20 min
 See protocols.io section A2. Store at 4 °C (up to 1 month).

- Leukocyte isolation from whole blood — Timing: ~45 min
 - Centrifuge whole blood in CPDA-1 tubes [placeholder speed/time].
 - Remove plasma; retain red cell pack and buffy coat.
 - Lyse RBCs with 1:10 v/v RBC lysis buffer, 10 min incubation with gentle rocking.
 - Centrifuge at 300 × g for 5 min; repeat if RBCs remain.
 - Wash leukocytes in HBSS and resuspend for downstream assays.

- Viability assessment — Timing: 10 min
 - Mix 1:1 leukocyte suspension with 0.4% trypan blue.
 - Incubate 3 min at RT.
 - Count cells on hemocytometer; calculate viable cell percentage.

- Zymosan activation of plasma — Timing: 30 min
 - Suspend 20 mg zymosan in 500 µL distilled water; centrifuge at 300 × g for 5 min.
 - Wash pellet twice with HBSS (pH 7.4).
 - Resuspend pellet in 10 mL HBSS.
 - Aliquot and centrifuge at 350 × g for 5 min.

- Agarose spot chemotaxis assay — Timing: 1.5 h + imaging
 - Prepare 0.5% agarose in PBS; keep at 40 °C.
 - Mix 20 µL plasma (activated or control) with 180 µL agarose.
 - Spot 10 µL in each well of a 96-well plate; allow to solidify.
 - Add 50 µL leukocyte suspension (5 × 10⁶ cells/mL) to each well.
 - Incubate at 37 °C for 1 h.

- Microscopy and image analysis — Timing: variable
 - Image four quadrants of each spot at 100× magnification.
 - Process images in ImageJ: background subtraction, thresholding, particle counting (>20 pixels).
 - Normalize migration counts to positive control (=100%).
 - (Optional) Determine migration distances from spot edge via coordinate geometry.

Critical Points:

- Ensure complete RBC lysis; if RBCs persist, repeat step.

- Maintain agarose at 40 °C to prevent premature solidification.

- Normalize migration to positive control for comparability.

Expected Results:

- Positive control (zymosan-activated plasma) should yield robust migration (∼100% baseline).

- Negative controls (unactivated plasma, buffer) should show minimal cell infiltration.

- Distance analyses provide additional metric of chemotactic strength.

Troubleshooting:

- Low migration: check leukocyte viability, confirm zymosan opsonization.

- High background: ensure purity of WBC prep and verify agarose spot integrity.