Extraction of Total DNA from Tissues, Tissue Culture Supernatant, and Whole Blood using a Qiagen DNeasy® Blood and Tissue Mini Kit Worksheet

Date: 		   Operator:________________________     Project:________________________

| Step 2. Extraction Procedure. |  |  |  |
| --- | --- | --- | --- |
|  | Sample volume (µl) used | Lot number/Other Info | Expiration Date |
| Positive controls |  |  |  |
| Negative controls |  |  |  |

| Step 3. Extraction Procedure. |  |  |  |
| --- | --- | --- | --- |
| Sample name/number | Additional information | Sample name/number | Additional information |

| Step 4. | DNA EXTRACTION PROCEDURE (NVSL-SOP-0591, Section 5.3): | Check or initial |
| --- | --- | --- |
| 1. | Make sure water bath in extraction room is turned on and set to 56°C (± 5 º). |  |
| 2. | Measure reagents in clean room. |  |
| 3. | Add 20 µl proteinase K to a 1.5 ml microcentrifuge tube. |  |
| 4. | Add 100 µl (blood) or 200 µl (serum, swab, clarified homogenized tissue, tissue culture supernatant) sample to the tube. |  |
| 5. | BLOOD SAMPLES: Add 100 µl 1x PBS to the tube. If sample matrix is not blood skip to Step 6. |  |
| 6. | Add 200 µl buffer AL and vortex. |  |
| 7. | Incubate 10 min at 56°C (± 5 º) |  |
| 8. | Add 200 µl ethanol (96-100%) and vortex. |  |
| 9. | Pipette sample mixture into DNeasy spin column. |  |
| 10. | Centrifuge at 6000 RCF for 60 (±15) sec. |  |
| 11. | Change collection tube. |  |
| 12. | Add 500 µl buffer AW1. |  |
| 13. | Centrifuge at 6000 RCF for 60 (±15) sec. |  |
| 14. | Change collection tube. |  |
| 15. | Add 500 µl buffer AW2. |  |
| 16. | Centrifuge at 20,000 RCF (or highest maximum speed) for 3 min (±30 secs). |  |
| 17. | Change collection tube. |  |
| 18. | Centrifuge at 16,000 RCF for 60 (±15) sec. (Dry spin) |  |
| 19. | Discard collection tube and transfer column into a 1.5 ml microcentrifuge tube. |  |
| 20. | Add 100 µl buffer AE for elution. |  |
| 21. | Incubate at room temperature for 60 (±15) sec. |  |
| 22. | Centrifuge at 6000 RCF for 60 (±15) sec. |  |
| 23. | Store DNA in freezer or on ice if to be used immediately. (Suggested -20ºC (± 5 º) or -30ºC (± 5 º) ) |  |
|  | DNA Storage Information: |  |

Note any alteration in performance of procedure below, date and initial:

Signature:						    Date:______________________