5 µM DAPI Cell Staining Solution

- Scope and Applicability: This protocol is used for preparation of 5 µM DAPI cell staining solution that is applicable for staining adult mouse brain sections.

- Materials:

  - DAPI (4’,6-diamidino-2-phenylindole, dihydrochloride) (Invitrogen D1306 or equivalent)

  - 1X PBS (-) (RP0001)

  - P200 or P1000 pipette tips

  - 5 ml serological pipette

  - RNase free stir bar

  - Aluminum foil

- Equipment:

  - P200 or P1000 pipette

  - Pipettor

  - 1000 ml graduated cylinder

  - Vortex

  - Stir plate

  - Magnetic stir bar remover

- Safety:

  - Nitrile gloves

  - Lab coat

  - Safety glasses

  - DAPI is a mutagen and should be handled with care.  Please consult your immediate supervisor if you have questions or concerns.

- Output:

  - 5 µM DAPI counterstaining solution in PBS.

- Reference Documents:

  - RP0001 Phosphate Buffered Saline (PBS)

    - https://www.protocols.io/view/phosphate-buffered-saline-pbs-bezgjf3w/abstract

  - “MSDS 4'6-diamino-2-phenylindole, dihydrochloride (DAPI) - Life Technologies 12-14.pdf”

Warning:  Personal Protective Equipment (PPE) should be used at all times while operating this protocol.  If you are unsure what PPE you should be using, see your immediate supervisor.  DAPI is a mutagen and should be handled with care.

- Setup:

  - Aliquot the appropriate volume of 1X PBS (-) according to Table 1 and add an RNase free stir bar to the bottle.  Reference Protocol RP0001 Phosphate Buffered Saline (PBS).

  - Obtain 10 mg/ml DAPI stock solution from the 4°C refrigerator.

    - To make 10 mg/ml DAPI stock solution, dissolve the content of one vial (10 mg) in 1 ml MilliQ water.  Vortex the bottle until the solid contents have been completely dissolved in the MilliQ water.

- Methodology (record all lot numbers and volumes in the appropriate reagent preparation notebook):

  - Vortex the DAPI stock solution before use, check to make sure that there is no DAPI precipitate.  If a precipitate is present, vortex until dissolved.

  - Prepare the required volume of 5 µM DAPI staining solution according to Table 1.

|  | 105 slides (3½ racks) | 210 slides (7 racks) | 315 slides (10½ racks) |
| --- | --- | --- | --- |
| 1X PBS (-) | 900 ml | 1.8 L | 2.7 L |
| 10 mg/mL DAPI stock solution | 158 µl | 316 µl | 474 µl |
| Final Volume 5 µM DAPI solution | 900 ml | 1.8 L | 2.7 L |

Table 1.  Volumes to prepare 5 µM DAPI staining solution

  - Place on stir plate at a high speed and stir for approximately 2 minutes.

  - Remove the stir bar using the magnetic stir bar remover.

  - If the staining solution is not to be used within one hour, cover with aluminum foil and store at 4C.  Discard staining solution if not used within the day of preparation.

- Take Down:

  - Excess/ unused 5 µM DAPI solution should be disposed of in the DAPI waste container.

- Technical Information:

  - DAPI staining solution is always prepared fresh the day of use and must be changed every 105 slides (3½ racks).

  - DAPI stock solution can be aliquoted and stored at ≤ -20C.  For short-term storage the solution can be kept at 2-6C, protected from light.